## Sheet 1
ID | TYPE | AREA | FUNCTION | MANUFACTURER | INSTALL DATE | PHASES | POWER (MVA) | VOLTAGE REGULATION | NOMINAL VOLTAGE (KV)
e230c8f5b9c635e054be4463878b1f37 | Power autotransformer | NT | T3 | MANUFACTURER-22 | 15.06.2012 | THREE | 15,00 | NO | 145,00
867bb2fa7dc6ce5d4723feb681681c2b | Regulator Power Autotransformer | LE | T5 | MANUFACTURER-23 | 18.08.2012 | THREE | 33,00 | NA | 138,00
c008181c377622a86abb4d507654478f | Regulator Power Autotransformer | OE | T1 | MANUFACTURER-22 | 29.08.2012 | THREE | 33,00 | YES | 138,00
3461287177268f4149acd9cf71adcca7 | Power autotransformer | NT | T4 | MANUFACTURER-22 | 15.03.2013 | THREE | 15,00 | NO | 145,00
543f937dd2ed50e14abb35ee70791751 | Power autotransformer | LE | T1 | MANUFAC01 | 22.10.1967 | THREE | 14,00 | NO | 138,00
2888be9f823d87ecd891114fb981e52d | Power autotransformer | LE | T1 | MANUFAC01 | 01.08.1978 | THREE | 15,00 | NO | 138,00
0ad32720cf652fde6b6c067ec45a7f0c | Power autotransformer | MQ | T25 | MANUFAC01 | 13.05.2009 | THREE | 15,00 | YES | 138,00
08516f3372e2347e14d934a83dfd4e01 | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-27 | 21.10.1984 | THREE | 33,30 | YES | 138,00
de6a619aaa31f968d73b7711d9a76e9d | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-27 | 21.10.1984 | THREE | 33,30 | YES | 138,00
320ff929bf7579c6e6744ee1871109bc | Power autotransformer | CE | T1_AZ | MANUFACTURER-21 | NA | SINGLE | 15,00 | NO | 138,00
84d08d5fea489b923ba3a74a70b24894 | Power autotransformer | CE | T1 RESERVE | MANUFACTURER-21 | NA | SINGLE | 15,00 | NO | 138,00
3ce0970d0ecc372bf15e726858a1efde | Power autotransformer | CE | T1_BR | MANUFACTURER-21 | NA | SINGLE | 15,00 | NO | 138,00
ccfbc23a04e286212f345a9329ee27d7 | Power autotransformer | CE | T1_VM | MANUFACTURER-21 | NA | SINGLE | 15,00 | NO | 138,00
5039b6aab0eb7ef3750d29aa62c0da58 | Power autotransformer | CE | T5 | MANUFAC01 | 01.12.1955 | THREE | 14,00 | NO | 138,00
cd54ba39b95b8bf86fef3eae79c084dd | Power autotransformer | CE | T4 | MANUFAC01 | 01.12.1955 | THREE | 14,00 | NO | 138,00
05eac9ce16fb148f23657159b4132fae | Power autotransformer | OE | T3 | MANUFAC01 | 06/11/2009 | THREE | 15,00 | NO | 138,00
9e87f8e6cb3a9780c6852ddaeca2429b | Power autotransformer | NT | T4 | MANUFACTURER-02 | 15.05.2010 | THREE | 15,00 | NO | 138,00
8d242bdeada2b666699cbe0b4406c7f1 | Power autotransformer | NT | T3 | MANUFAC01 | 15.05.2010 | THREE | 15,00 | NO | 138,00
463e401be09365aca8ae24ec1c7ebfab | Power autotransformer | NT | T2 | MANUFAC01 | 01.06.1998 | THREE | 5,00 | NO | 69,00
604787a99aad3d8e829dde71a64bda32 | Power autotransformer | LE | T2 | MANUFAC01 | 01.04.1998 | THREE | 5,00 | NO | 69,00
3ceffbbf39e657eed65112fa04a24401 | Power autotransformer | OE | T3 | MANUFAC01 | NA | THREE | 15,00 | NO | 138,00
13b734bba9ca58446fbe639647735e3f | Power autotransformer | OE | T9 | MANUFACTURER-05 | NA | THREE | 15,00 | NO | 138,00
a0fba4702118f48df3bf150b1808bac0 | Power autotransformer | OE | T8 | MANUFACTURER-05 | NA | THREE | 15,00 | NO | 138,00
0d35c31c7f2049a867beba7171bad500 | Power autotransformer | LE | T4 | MANUFAC01 | 17.11.1977 | THREE | 15,00 | NO | 138,00
b4e06447bd4fec3cd52a36509dc31357 | Power autotransformer | OE | T1 | MANUFAC01 | NA | THREE | 15,00 | NO | 138,00
0801a5a0afbf1f6a231ee9bfc5d79057 | Power autotransformer | TA | T3 | MANUFACTURER-14 | 07.11.2001 | THREE | 14,00 | NO | 138,00
ed2657e6633386ef86fcedc69e73bc98 | Power autotransformer | SU | T2 | MANFCT-5 | 31.12.9999 | THREE | 15,00 | NO | 138,00
e9addbd0d76cf63776ed2e5e5f2633b1 | Power autotransformer | SU | T1 | MANFCT-5 | 22.12.1976 | THREE | 15,00 | NO | 138,00
c2a5943c58f43bd1ea328910421e1ce9 | Power autotransformer | SU | T2 | MANUFAC01 | 22.12.1976 | THREE | 14,00 | NO | 138,00
9c5fbe158350a91776383277a3dafde6 | Power autotransformer | NT | T1 | MANUFAC01 | 05.05.1985 | THREE | 15,00 | NO | 138,00
c3be3b8142719372cd5569d92f7622be | Power autotransformer | OE | T1 | MAN-1 | 27/08/2004 | THREE | 15,00 | NO | 138,00
72cadead8181bf5075bd9c320e5c69d4 | Power autotransformer | CE | T5 | MAN-1 | 01.08.1988 | THREE | 15,00 | NO | 138,00
dee50f78b6db933d4735d8101c3b9e45 | Power autotransformer | LE | T2 | MANUFAC01 | 22.10.1967 | THREE | 14,00 | NO | 138,00
a1931fc72e9dfa84b43b81a48f455ed6 | Power autotransformer | SU | T1 | MANUFAC01 | 05.06.2006 | THREE | 14,00 | NO | 138,00
68e244368f2acd5fc1e451aaf5285187 | Power autotransformer | TA | T2 | MANUFACTURER-001 | 01.01.1971 | THREE | 14,00 | NO | 138,00
1efa30fffead1ffa4bb042f015fa3aab | Power autotransformer | TA | T2 | MANUFACTURER-02 | 01.01.1971 | THREE | 15,00 | NO | 138,00
dfe413a82b602784e1eab3da37f40fea | Power autotransformer | MQ | T1 | MANUFACTURER-08 | 13.04.1986 | THREE | 5,00 | NO | 69,00
d53d6ad2720a7a5e518b58647303d7f7 | Power autotransformer | MQ | T2 | MANUFACTURER-08 | 20.01.1991 | THREE | 5,00 | NO | 69,00
678cd2b6ed5e7662f379067818cd3558 | Power autotransformer | NT | T3 | MANUFAC01 | 18.12.1983 | THREE | 15,00 | NO | 138,00
0b21490220abe56f4c98f68047e14047 | Power autotransformer | TA | T1 | MANUFAC01 | 29.12.2001 | THREE | 15,00 | NO | 138,00
80c0f80b1966ff65ff9fc50a2dd93c2c | Power autotransformer | LE | T5 | MANUFAC01 | 01.07.1980 | THREE | 15,00 | NO | 138,00
b5c3f4ab1f9d908825d042421c3b21f8 | Power autotransformer | TA | T3 | MANUFAC01 | 01.05.1993 | THREE | 15,00 | NO | 138,00
0928a86d76ba5643a2bfef19d602294a | Power autotransformer | OE | T3 | MANUFACTURER-23 | NA | NA | NA | NA | NA
640ba4f9880cad8b48f63469cdaa00eb | Power autotransformer | NT | T1 | MANUFACTURER-23 | NA | THREE | 5,00 | NO | 69,00
ca4831c112050b54b0df5d71c862772b | Power autotransformer | TA | T1 | MANUFACTURER-14 | 27.12.2002 | THREE | 14,00 | NO | 138,00
98677e182fbe2566a6867d994e650854 | Power autotransformer | MQ | T1 | MANUFACTURER-24 | 01.10.1982 | THREE | 15,00 | NO | 138,00
b9f7f6d2035610190ffd3a32f52649ad | Power autotransformer | MQ | T2 | MANUFACTURER-24 | 01.10.1982 | THREE | 15,00 | NO | 138,00
299583d56a56a9f929a7ab742f2423a9 | Power autotransformer | OE | T2 | MANUFACTURER-24 | 01.12.1982 | THREE | 15,00 | NO | 138,00
1226cbd9951bfbab3465f0f333bc3364 | Power autotransformer | OE | T1 | MANUFACTURER-24 | 01.12.1982 | THREE | 15,00 | NO | 138,00
97b62fe188d8ec14de7334b9642e547c | Power autotransformer | OE | T1 | MANUFACTURER-23 | NA | THREE | 15,00 | NO | 138,00
f2e7145dcbb45ae13f702c1652af2bbf | Power autotransformer | OE | T2 | MANUFACTURER-23 | NA | THREE | 15,00 | NO | 138,00
b64306860150a39187fc774a1086d9c8 | Power autotransformer | SU | T4 | MANUFACTURER-23 | NA | THREE | 15,00 | NO | 138,00
9d40157bcb6790b9c6b1f62c05af2479 | Power autotransformer | SU | T5 | MANUFACTURER-23 | NA | THREE | 15,00 | NO | 138,00
7e7da68a800b6e0f6eec7264d04302d7 | Power autotransformer | OE | T4 | MANUFACTURER-23 | NA | THREE | 12,50 | NO | 69,00
163b39c26a8fc26201519ff0c659fbc7 | Power autotransformer | OE | T2 | MANUFACTURER-23 | 01.11.1987 | THREE | 5,00 | NO | 69,00
24e675a84cf4e16ef7969ded744f2bda | Power autotransformer | OE | T1 | MANUFACTURER-23 | 01.11.1987 | THREE | 5,00 | NO | 69,00
85accc8574b5f3c37395980c2f003c29 | Power autotransformer | LE | T1 | MANUFACTURER-23 | 01.10.1987 | THREE | 15,00 | NO | 138,00
b19de176ed3ac6cebe0f8feeccfefad1 | Power autotransformer | LE | T2 | MANUFACTURER-23 | 01.10.1987 | THREE | 15,00 | NO | 138,00
77918adda202d72a21b7761c63e7e59b | Power autotransformer | NT | T1 | MANUFACTURER-23 | 03.06.1990 | THREE | 15,00 | NO | 138,00
291600b940e1c2f18091ed82f1deeafc | Power autotransformer | SU | T2 | MANUFACTURER-23 | 10.01.1999 | THREE | 15,00 | NO | 138,00
1a47e5697c76d4bce308e5bba372dcd5 | Power autotransformer | NT | T2 | MANUFACTURER-23 | 03.06.1990 | THREE | 15,00 | NO | 138,00
9cadd1d99addbe059ab1d6d9bcb54d78 | Power autotransformer | OE | T4 | MANUFACTURER-23 | NA | THREE | 15,00 | NO | 138,00
68ab6c7233c52147f5e1a5b7df96fec4 | Power autotransformer | LE | T1 | MANUFACTURER-23 | 11.09.1996 | THREE | 15,00 | NO | 138,00
6b066d58a2827bbc6695fc341bcb76d0 | Power autotransformer | TA | T1 | MANUFACTURER-01 | 01.07.1996 | THREE | 15,00 | NO | 138,00
fbe8bb31649b116cd071a40d2c1ace97 | Power autotransformer | LE | T2 | MANUFACTURER-01 | 11.09.1996 | THREE | 15,00 | NO | 138,00
930c5f7c9da0e7ae6dfce2393e5b05b5 | Power autotransformer | CE | T5 | MANUFACTURER-01 | 01.12.1996 | THREE | 15,00 | NO | 138,00
b3d07e43942f8b1e505d85bf88fae773 | Power autotransformer | TA | T2 | MANUFACTURER-01 | 01.07.1996 | THREE | 15,00 | NO | 138,00
aae0ae8236493b87788ffda235648ec8 | Power autotransformer | NT | T3 | MANUFACTURER-01 | 04.07.1997 | THREE | 15,00 | NO | 138,00
5e419572eed212161c991970aebf9e76 | Power autotransformer | NT | T2 | MANUFACTURER-23 | 08.09.1997 | THREE | 15,00 | NO | 138,00
de1f7b1de8bf306524e6a04431efbccf | Power autotransformer | NT | T1 | MANUFACTURER-23 | 08.09.1997 | THREE | 15,00 | NO | 138,00
01c9ee9c15cd6d0fc930684d5ec1686a | Power autotransformer | OE | T1 | MANUFACTURER-23 | 17-08-1997 | THREE | 15,00 | NO | 138,00
20453c77c12dc45558a0a7fd888a5cf3 | Power autotransformer | LE | T1 | MANUFACTURER-23 | 01.04.1999 | THREE | 15,00 | NO | 138,00
395c8ae839a896da541e1e6d52cccd5d | Power autotransformer | LE | T2 | MANUFACTURER-23 | 01.04.1999 | THREE | 15,00 | NO | 138,00
f3c4c7b2e31f07409f723856f369f420 | Power autotransformer | SU | T5 | MAN-1 | 06.06.1978 | THREE | 6,60 | NO | 69,00
a9c4bcb1b4b4e8efb95fc654413f27c2 | Power autotransformer | SU | T6 | MAN-1 | 29.03.1978 | THREE | 3,30 | NO | 69,00
1b9870d9f024247a777e37d4ac07becf | Power autotransformer | LE | T2 | MANUFACTURER-23 | 15.07.2012 | THREE | 33,00 | YES | 144,90
aea201fef7daf1ff2ad75f0a1e25bf43 | Power autotransformer | LE | T1 | MANUFACTURER-23 | 15.07.2012 | THREE | 33,00 | YES | 144,90
90062afa41facbf64140c23ea2df242f | Power autotransformer | LE | T1 | MANUFACTURER-23 | 27.03.2009 | THREE | 15,00 | NA | 138,00
abc41bfd833e2fff11bdd24feb35cd79 | Power autotransformer | LE | T3 | MANUFACTURER-23 | 20.06.2010 | THREE | 15,00 | NO | 138,00
20f8188f9a5f76feaf61698e264fa1ab | Power autotransformer | NT | T2 | MANUFACTURER-23 | 20.05.2010 | THREE | 15,00 | NO | 138,00
599a61402bfd5b778929fbdce3d5708d | Power autotransformer | NT | T1 | MANUFACTURER-23 | 30.10.2009 | THREE | 15,00 | NO | 138,00
04b7c1b933d258a86db6c6fabcdb3189 | Power autotransformer | CE | T3 | MANUFACTURER-23 | 05.11.2009 | THREE | 14,00 | NO | 138,00
b7fe719eeb21dfc3334a32c54c937b4d | Power autotransformer | TA | T5 | MANUFACTURER-23 | 09.04.2011 | THREE | 15,00 | NO | 138,00
70242c8efd7bd3002aeb09d07d381d7a | Power autotransformer | TA | T4 | MANUFACTURER-23 | 09.04.2011 | THREE | 15,00 | NO | 138,00
a6433f984009c3b9bf5914973352e6e8 | Power autotransformer | MQ | T1 | NA | NA | NA | 15,00 | NA | 145,00
d0ac1b4c10c27dda0ed33d031fa23d48 | Power autotransformer | MQ | T2 | NA | NA | NA | NA | NA | NA
400a2eb0d95a895deacd173756a4543a | Power autotransformer | TA | T3 | MANUFACTURER-22 | 05.02.2012 | THREE | 33,00 | YES | 138,00
13b8a599c82a16b11b0752252a3db0f7 | Power autotransformer | LE | T1 | MANUFACTURER-23 | 15.06.2012 | THREE | 15,00 | NO | 138,00
cf077259d5b821c0b25b3e26a6c27452 | Power autotransformer | OE | T4 | MANUFACTURER-23 | NA | NA | NA | NA | NA
d1ee93043a018b17898fdbfe10428766 | Power autotransformer | TA | T4 | MANUFACTURER-22 | 05.02.2012 | THREE | 33,00 | YES | 138,00
8f6b1725fcc30ba3166dfc5a4bc12ae2 | Regulator Power Autotransformer | OE | T2 | MANUFACTURER-23 | 06/12/2009 | THREE | 33,00 | YES | 138,00
d6055d9a31affef546746ff601366860 | Regulator Power Autotransformer | OE | T3 | MANUFACTURER-23 | 06/12/2009 | THREE | 33,00 | YES | 138,00
b5b3deeef3bb956b1cb0185ccf39d042 | Power autotransformer | TA | T3 | MANUFACTURER-26 | 27.07.2008 | THREE | 15,00 | NO | 138,00
2ae5796f17994123e81c31ec6d1ab95f | Regulator Power Autotransformer | CE | T5 | MANUFACTURER-23 | NA | THREE | 25,00 | YES | 138,00
6c021734e4969b49fa61d5d52fefc97e | Power Transformer | LE | T2 | MANUFACTURER-24 | 09.06.2011 | THREE | 5,00 | NO | 69,00
cd0ebf74a135ed0293009cfe64eee353 | Power Transformer | LE | T1 | MANUFACTURER-23 | 15082011 | THREE | 5.000,00 | NO | 69,00
99d2965fc110f42948374ad4e0330a59 | Power Transformer | TA | T3 | MANUFACTURER-22 | 01.07.2012 | THREE | 25,00 | YES | 138,00
7b1b5b8131ee30c4afbfe726d52720d1 | Power Transformer | TA | T5 | MANUFACTURER-22 | 01.09.2012 | THREE | 25,00 | YES | 138,00
3cb838f5b018d8d8acd848c368aff7f1 | Power Transformer | TA | T2 | MANUFACTURER-22 | 01.08.2012 | THREE | 25,00 | YES | 138,00
ab563b2cdefe27c77cd79586c8b7a7fc | Power Transformer | LE | T1 | MANUFACTURER-08 | NA | NA | NA | NA | NA
f8a65ad13a9ccfbe9cf05c4c67c0b5c3 | Power Transformer | NT | T2 | MANUFACTURER-23 | 30.06.2011 | THREE | 7,50 | NA | 69,00
eeb5f9cadc334786eb835db3e5bd5049 | Regulator Power Autotransformer | OE | T4 | MANUFACTURER-22 | 16.11.2011 | THREE | 25,00 | YES | 145,00
839ce88ddf3c82fd5d04599c06fbc9e6 | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-22 | 17.08.2012 | THREE | 25,00 | YES | 138,00
75efb31223191e84b63a35a3f138ce96 | Regulator Power Autotransformer | OE | T4 | MANUFACTURER-22 | 12.07.2012 | THREE | 15,00 | YES | 138,00
5dc3952e30add3c801a6532519bebe89 | Regulator Power Autotransformer | CE | T3 | MANUFACTURER-22 | NA | NA | 25,00 | YES | 138,00
acccbc69c207d13932a833a8f4cdc179 | Power Transformer | CE | T2 | MANUFACTURER-22 | 03.05.2012 | THREE | 25,00 | YES | 138,00
499f046e27fe2670c4615219ef2809f3 | Regulator Power Autotransformer | LE | T2 | MANUFACTURER-22 | 05/09/2012 | THREE | 12,50 | NA | 69,00
79f0432640394260fe80c39f57f50c4e | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-22 | 0X.0X.2012 | THREE | 25,00 | YES | 145,00
f8f65ff1d28094a003ac0be2c1877d36 | Regulator Power Autotransformer | LE | T2 | MANUFACTURER-22 | 18/04/2012 | NA | 12,50 | YES | 72,50
5a3fc6996d09e735716114d7b0c0f85f | Regulator Power Autotransformer | LE | T1 | MANUFACTURER-22 | 04/09/2012 | THREE | 7.500,00 | YES | 69,00
d6f4fbde657280e0313d736dd35c64e5 | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-22 | 19.07.2012 | THREE | 25,00 | YES | 138,00
062e7aaa3191516714077a97c35ed6c5 | Power Transformer | TA | T2 | MANUFACTURER-22 | 05.08.2012 | THREE | 25,00 | YES | 138,00
7a158e9b7b74145251194ff7e086da15 | Regulator Power Autotransformer | CE | T3 | MANUFACTURER-22 | 02.08.2012 | THREE | 25,00 | YES | 13,80
892c0a1ce3b22e383229c66da3cb7fd9 | Power Transformer | CE | T3 | MANUFACTURER-22 | 30.05.2012 | THREE | 25,00 | YES | 138,00
70eab1b160b7555f9a6e29b58b1b03a4 | Regulator Power Autotransformer | CE | T3 | MANUFACTURER-22 | 19.07.2012 | THREE | 25,00 | YES | 138,00
716c52135061bf32cc79d171edc48dc2 | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-22 | 13.07.2012 | THREE | 25,00 | YES | 138,00
f292af659d260f76c1f82a6600874de8 | Power Transformer | SU | T2 | MANUFACTURER-22 | 25.09.2012 | THREE | 15,00 | YES | 138,00
539e74c1d35132de604f0d02c3266215 | Power Transformer | SU | T3 | MANUFACTURER-22 | 03.09.2012 | THREE | 25,00 | YES | 138,00
c52c3b04f765672456021a6f7e69950e | Power Transformer | SU | T1 | MANUFACTURER-08 | 06.10.1982 | THREE | 25,00 | YES | 138,00
89584c447ad1750aa5a7fe6bf04e1283 | Power Transformer | MQ | T2 | MANUFACTURER-08 | 19.02.1982 | THREE | 25,00 | YES | 138,00
79933ac9c481cd5efda8ed29a6c2f266 | Regulator Power Autotransformer | CE | T3 | MANUFACTURER-08 | 21.07.1978 | THREE | 25,00 | YES | 138,00
c25e959d4ed8de6468bce1e220353a42 | Power Transformer | TA | T2 | MANUFACTURER-26 | 30.08.2012 | THREE | 25,00 | YES | 138,00
e263e717fbc2a5a96c1619e8969feba2 | Power Transformer | TA | T4 | MANUFACTURER-08 | 01.10.1986 | THREE | 25,00 | YES | 138,00
617040dda77aec1a10ba5a17a64981b9 | Power Transformer | OE | T1 | MANUFACTURER-22 | 31.08.2012 | THREE | 25,00 | YES | 138,00
2c1e77ffa9b717266c7be79da8bfc18e | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-22 | 31.10.2012 | THREE | 25,00 | YES | 138,00
f106c0b374e0ab8485c8568b6eec9719 | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-22 | 16.08.2012 | THREE | 25,00 | YES | 138,00
487b3c368b1c6746c617e98a1584659f | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-22 | 16.08.2012 | THREE | 25,00 | YES | 138,00
8a7e2acf76b7d5373201007ca285008a | Power Transformer | TA | T2 | MANUFACTURER-23 | 01.08.2012 | THREE | 25,00 | YES | 145,00
b79548dc9707e8fe33ee0dcc0d64a0dc | Power Transformer | OE | T1 | MNAUFACTURER-4 | 24.07.1988 | THREE | 5,00 | NO | 69,00
5f3e3f1167f858183da0991a977314cf | Power Transformer | MQ | T4 | NA | NA | NA | NA | NA | NA
84326379af1aa826f416c28f89af0d5d | Power Transformer | SU | T1 | MANUFACTURER-23 | 27.05.1998 | THREE | 12,50 | NO | 69,00
4e00498796ce66debeb62fadccdae219 | Power Transformer | MQ | T3 | MANUFACTURER-22 | 26.02.2013 | NA | 25,00 | YES | NA
cab842fc0e38c3a9eb066ad4403f8dee | Power Transformer | OE | T1 | MAN-1 | 01.03.1993 | THREE | 10,00 | NO | 69,00
06af727dd020f02755b7072f0da387bd | Power Transformer | MQ | T3 | MANUFACTURER-27 | 23.03.1987 | THREE | 9,37 | NO | 69,00
639e3dadfe8e2c4e33328d5913076807 | Regulator Power Autotransformer | LE | T5 | MANUFACTURER-08 | 01.12.1996 | THREE | 25,00 | YES | 161,00
1dbd8fc7c35a3e5a5742ff676a6c9422 | Regulator Power Autotransformer | LE | T1 | MANUFACTURER-08 | 01.04.1980 | THREE | 25,00 | YES | 161,00
a3f250faa49196fced0fc9d83cdaf566 | Power Transformer | TA | T1 | MANUFACTURER-22 | 01.04.2013 | THREE | 25,00 | YES | 138,00
6f8d430e629794458d668be7ab343626 | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-22 | 01.01.9999 | THREE | 15,00 | YES | 138,00
62cd8064ba44c8ce3b0ba03d89a68285 | Power Transformer | SU | T2 | MAN-1 | 01.12.1980 | THREE | 10,00 | NO | 69,00
e48229fdc0c7e3da735771278e75b0e5 | Power Transformer | LE | T1 | MAN-1 | 10.02.1982 | THREE | 5,00 | NO | 69,00
e7119e23cb32f3b6e9abf69fa74fa564 | Power Transformer | LE | T2 | MAN-1 | 01.06.1997 | THREE | 5,00 | NO | 69,00
9179605a95f6afcb5d79cf10a6f533b1 | Power Transformer | TA | T3 | MANUFACTURER-22 | 23.05.2013 | THREE | 25,00 | YES | 138,00
2b3b0488a6c9430d32f6151fd8e5ead3 | Power Transformer | NT | T4 | MANUFAC01 | 06.07.2005 | THREE | 5,00 | NO | 69,00
9839cc3cdeb14ffd46b00f70979cfc60 | Power Transformer | TA | T1 | MANUFACTURER-23 | 06.04.1999 | THREE | 5,00 | NO | 69,00
42b7c227e6be06af040f35c7c0f1c368 | Regulator Power Autotransformer | LE | T1 | MANUFAC01 | 01.09.1986 | THREE | 25,00 | YES | 138,00
3e07b022bb4b2daaa2f8430439f34b0b | Power Transformer | CE | T2 | MANUFACTURER-23 | 06.09.1978 | THREE | 25,00 | NO | 138,00
c72aea19d7398217db7e11e0fe59e350 | Power Transformer | CE | T1 | MANUFACTURER-23 | 06.09.1978 | THREE | 25,00 | NO | 138,00
027d5dbe35e803d04b553e323826de49 | Power Transformer | CE | T3 | MANUFACTURER-23 | 06.09.1978 | THREE | 25,00 | NO | 138,00
923f37b5daec3c8fd0a35beacaf1decc | Regulator Power Autotransformer | CE | T3 | MANUF-11 | 30.06.1974 | THREE | 25,00 | YES | 138,00
4f9a01ca8402ae0cbab64beb89fbb1f1 | Regulator Power Autotransformer | CE | T2 | MANUF-11 | 30.06.1974 | THREE | 25,00 | YES | 138,00
9caf552b4e7d96f4e5b8e2d725909555 | Regulator Power Autotransformer | CE | T1 | MANUF-11 | 30.06.1974 | THREE | 25,00 | YES | 138,00
5bff01e62b4a4e1a21b61492235b0c54 | Power Transformer | LE | T1_AZ | MANUFAC-013 | 01.08.1989 | SINGLE | 5,00 | NO | 69,00
f0d0718e1a3eafcd57dda91416952140 | Power Transformer | LE | T1 | MANUFAC-013 | 01.08.1989 | SINGLE | 5,00 | NO | 69,00
12dba9ddd70d443b80fae9a229a3c639 | Power Transformer | LE | T1 | MANUFAC-013 | 01.08.1989 | SINGLE | 5,00 | NO | 69,00
a4c54db61744b8ee659e3084c53a1e32 | Power Transformer | LE | T1 | MANUFAC-013 | 01.08.1989 | SINGLE | 5,00 | NO | 69,00
ac8107e9e4d04e3058188336f2feb86f | Power Transformer | NT | T1 | MANUFACTURER-23 | 13.12.1984 | THREE | 7,50 | NO | 69,00
2ccb63a4c59d9d86319588b9b9651446 | Regulator Power Autotransformer | CE | T4 | MANUFACTURER-24 | 01.02.1990 | THREE | 25,00 | YES | 138,00
4e9cf0b408bb61829db69b04d69f221d | Regulator Power Autotransformer | CE | T1 | MANUFAC01 | NA | THREE | 25,00 | YES | 138,00
6b1d2fa68f3fe1a42da8046e9a25636a | Regulator Power Autotransformer | CE | T4 | MANUFAC01 | 06.09.1978 | THREE | 25,00 | YES | 138,00
b69618db47bd5f6d868a9b8020e77507 | Power Transformer | TA | T1 | MANUFAC01 | 01.06.1992 | THREE | 15,00 | YES | 138,00
35b9402d86766a42d93d6b8813ea870e | Power Transformer | TA | T1 | MANUFAC01 | 01.07.1993 | THREE | 15,00 | YES | 138,00
ce633cd7d804ee5042363cb133704484 | Power Transformer | CE | T1 | MANUFAC01 | 01.02.1978 | THREE | 5,00 | NO | 69,00
731085cf9500287c2a8f82e5d35602a7 | Power Transformer | SU | T8 | MANUFACTURER-08 | 21.07.1982 | THREE | 7,50 | NO | 69,00
0b11f3499c4ed2037fb2cad2ac6e9292 | Power Transformer | OE | T2 | MANUFACTURER-08 | 01.12.1982 | THREE | 7,50 | NO | 69,00
f2c0be017f6bc97dd0e6802ec16ddfa6 | Power Transformer | NT | T2 | MANUFACTURER-08 | 7.1999 | THREE | 5,00 | NO | 69,00
a9e8c4aa7ccc9a5a2134e04c0555bfed | Regulator Power Autotransformer | MQ | T2 | MNAUFACTURER-4 | 28.07.1982 | THREE | 15,00 | YES | 138,00
5458c9c6e622434172b26ff26b1a1ebb | Regulator Power Autotransformer | MQ | T1 | MNAUFACTURER-4 | 06.04.1993 | THREE | 15,00 | YES | 138,00
0870ee18184181f256c8d76380370994 | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-08 | 01.02.1979 | THREE | 25,00 | YES | 138,00
4080ed611c617be64147845f27e6105e | Power Transformer | TA | T2 | MANUFACTURER-08 | 01.10.1988 | THREE | 12,50 | NO | 69,00
5261911c6d2438b3977be09b1bbdb7e6 | Power Transformer | TA | T6 | MANUFACTURER-23 | 15-09-2010 | THREE | 12,50 | NO | 69,00
bbe4ce56fa68b4a3fb9fb0916c66e751 | Regulator Power Autotransformer | NT | T1 | MNAUFACTURER-4 | 19.12.2003 | THREE | 15,00 | YES | 138,00
b74e180934cd1a0c33e5decb48a66e2f | Regulator Power Autotransformer | SU | T2 | MNAUFACTURER-4 | NA | THREE | 15,00 | YES | 138,00
f73774fce7fbef1fb87374d31ab8abeb | Power Transformer | SU | T1 | MANUFAC01 | 29.03.1995 | THREE | 15,00 | YES | 138,00
7afbf14a640d9bc456e82a9312e8cc34 | Power Transformer | NT | T1 | MANUFAC01 | 25.07.2002 | THREE | 5,00 | NO | 69,00
22238173a3fd20f257a050edb58e6170 | Power Transformer | NT | T1 | MANUFACTURER-07 | 23.07.1985 | THREE | 1,00 | NO | 34,50
2facb8b50a088526d8d58276854efb71 | Power Transformer | NT | T1 | MANUFACTURER-23 | 21.12.1993 | THREE | 2,50 | NO | 34,50
c09899d02a5c4e564857f7e4c871d07b | Power Transformer | NT | T2 | MANUFAC01 | 10.10.2004 | THREE | 10,00 | NO | 138,00
e3a7e6800ca96194deb66189f1ecf5e9 | Regulator Power Autotransformer | CE | T3 | MANUFACTURER-01 | 05/08/2006 | THREE | 25,00 | YES | 138,00
9defbdf69bf7eb944f153b5d0b0b86e7 | Power Transformer | OE | T7 | MANUFACTURER-01b | NA | THREE | 5,00 | NO | 138,00
d0ea84e7f26154ed7412ca8e36436510 | Power Transformer | SU | T1 | MAN-1 | 30.08.1990 | THREE | 5,00 | NO | 69,00
764949078b517cc6f38ab9039fd56490 | Power Transformer | OE | T2 | MAN-1 | 03.09.1988 | THREE | 5,00 | NO | 69,00
617818ef93e64f1021aae1df9df7f545 | Power Transformer | OE | T1 | MANUFAC01 | 01.05.1991 | THREE | 25,00 | YES | 138,00
153f9b48a86ccec1caf2c821f9c24e91 | Power Transformer | LE | T1 | MANUFAC01 | 01.11.1997 | THREE | 5,00 | NO | 69,00
740e0cc59b28bf98df442b1efdb6dcc3 | Power Transformer | TA | T1 | MANUFACTURER-01b | 26.03.1991 | THREE | 5,00 | NO | 69,00
4b28f4eca0cbe3c62f4245b0344945de | Power Transformer | OE | T2 | MANUFACTURER-08 | 27-09-1992 | THREE | 25,00 | YES | 138,00
155a113e60b806c3de9d204fd3467460 | Power Transformer | MQ | T1 | MANUFACTURER-02 | 09.07.1992 | THREE | 2,50 | NO | 69,00
dfdedab2c6bc4fa1278888aad80df879 | Power Transformer | LE | T1 | MANUFACTURER-23 | 26.08.2003 | THREE | 12,50 | NO | 69,00
e36b970f6bace9b2163181fc3d41ff7a | Power Transformer | LE | T1 | MAN-1 | 01.02.1993 | THREE | 2,50 | NO | 34,50
95d7b142c25625663e1aef694fc1d800 | Power Transformer | NT | T4 | MANUFACTURER-27 | 11.04.1989 | THREE | 2,25 | NO | 34,50
339f24569b2555f53ad7dbc917379b3e | Power Transformer | OE | T3 | MANUFACTRUER-05 | 19-04-1998 | THREE | 4,20 | NO | 69,00
c3613550ac50d85322b4d7cdf59d285e | Power Transformer | LE | T2 | MANUFAC01 | 01.02.1993 | THREE | 2,50 | NO | 34,50
a8269d54dbcc74e01ea05f6069184c18 | Power Transformer | SU | T1 | MANUFACTURER-24 | NA | THREE | 10,00 | NO | 69,00
ea79e51ea2112b881906ba004fc976c2 | Power Transformer | SU | T5 | MANUFAC01 | 29.08.1997 | THREE | 25,00 | YES | 138,00
87437df223e939e4d3d663357266bd56 | Power Transformer | MQ | T2 | MANUFACTURER-05 | 16.05.1989 | THREE | 2,50 | NO | 69,00
f9ff65a485877e54c7f257c2d3eb3048 | Power Transformer | MQ | T1 | MANUFACTURER-05 | 16.05.1989 | THREE | 2,50 | NO | 69,00
aa993bbff1148d2b4419fddaf629f542 | Power Transformer | MQ | T2 | MANUFACTURER-001 | 04.07.1996 | THREE | 1,00 | NO | 34,50
c307257ba445c64163c152051817fbd0 | Power Transformer | MQ | T1 | MANUFACTURER-27 | 29.03.1999 | THREE | 9,37 | NO | 69,00
f03a4aad7848a5d374ffee85ff533fe4 | Power Transformer | MQ | T1 | MAN-1 | 29.06.1978 | THREE | 10,00 | NO | 69,00
386faf316d040f4da8d8b9b94c1a8713 | Regulator Power Autotransformer | MQ | T2 | MANUFACTURER-24 | 26.02.1975 | THREE | 30,00 | YES | 138,00
8e61c47068b720104f86460db9d4690e | Regulator Power Autotransformer | MQ | T1 | MANUFACTURER-24 | 01.03.1984 | THREE | 35,00 | YES | 138,00
559333ca7c7e6efd9999543aa84a1c3f | Power Transformer | MQ | T6 | MANUFACTURER-02 | 29.03.1999 | THREE | 0,22 | NO | 138,00
ff028999b5d8404a618d3879c00ba74c | Power Transformer | SU | T2 | MAN-1 | 03.07.1977 | THREE | 5,00 | NO | 69,00
50f1187c6a8a5e84b8d556cdae01cb3f | Power Transformer | SU | T2 | MANUFACTURER-02 | 16.02.2006 | THREE | 5,00 | NO | 69,00
e8e2aac5ad3460820b435760d14adba4 | Power Transformer | NT | T1 | MANUFAC01 | 23.04.1998 | THREE | 5,00 | NO | 138,00
52285d26a16f6021ef39ab83b9a0e2b7 | Power Transformer | LE | T8 | MANUFACTURER-23 | 01.07.1977 | THREE | 5,00 | NA | 69,00
91b43426b1f95e5adabe4251a52a064a | Power Transformer | SU | T2 | MANUFACTURER-23 | 07.05.1978 | THREE | 7,50 | NO | 69,00
603e85e1f71a309b12eec2ff8f3b2e2d | Power Transformer | SU | T1 | MANUFACTURER-23 | 07.05.1978 | THREE | 7,50 | NO | 69,00
0eccd605e225626792f9d962c2b4552b | Power Transformer | TA | T3 | MANUFACTURER-02 | 01.01.1987 | THREE | 2,50 | NO | 34,50
9fe4265ed1208edcfc2ae6977899f4c3 | Power Transformer | OE | T1 | MANUFACTURER-02 | 26.10.1988 | THREE | 1,50 | NO | 34,50
8f4cfd90aba4a1fe93fe918612ad0266 | Power Transformer | NT | T1 | MANUFACTURER-23 | 14.05.2003 | THREE | 2,50 | NO | 69,00
0800b9692db404c4f5c3a087bf9c6d0f | Power Transformer | NT | T2 | MANUFACTRUER-05 | 04.06.1985 | THREE | 1,00 | NO | 34,50
5f6935195a850a3b60367c17d8388ccd | Power Transformer | TA | T2 | MANUFAC01 | 14.05.2001 | THREE | 2,50 | NO | 69,00
c6ab2738267eeb0067417b421f50da40 | Power Transformer | SU | T1 | MAN-1 | 22.03.1978 | THREE | 15,00 | YES | 138,00
1d94c798f77222cc454cddb231999f2d | Power Transformer | LE | T2 | MANUFACTURER-02 | 01.11.1989 | THREE | 1,50 | NO | 34,50
228c556769a582b985f4ad938fcce2f5 | Power Transformer | LE | T1 | MANUFACTURER-05 | NA | THREE | 5,00 | NO | 138,00
5d5e88113b7932fd0e0151aabf907a80 | Power Transformer | OE | T2 | MANUFACTURER-07 | 01.07.1992 | THREE | 2,50 | NO | 69,00
e45f3bef2b5c619c1b547f545c774d4c | Power Transformer | NT | T1 | MANUFAC01 | NA | THREE | 2,50 | NO | 69,00
97f28eabbddd74826740fbc6881a529c | Power Transformer | OE | T2 | MAN-1 | NA | THREE | 5,00 | NO | 69,00
cff1e1f67cf39da684f128e0aa8de343 | Power Transformer | OE | T2 | MAN-1 | 01.08.1999 | THREE | 5,00 | NO | 69,00
05ea9fb50f7da626a155629ef20c4f02 | Power Transformer | SU | T1 | MANUFACTURER-08 | 27.11.1986 | THREE | 25,00 | YES | 138,00
48327ae6d0cf52ee19009ca0384ace18 | Power Transformer | TA | T5 | MANUFACTURER-07 | 07.12.2000 | THREE | 2,50 | NO | 34,50
c47fbc8a42bac274bf1bef6e10538ac5 | Regulator Power Autotransformer | CE | T1 | MANUFAC01 | 31.03.2002 | THREE | 15,00 | YES | 138,00
e0dcabb62d877dfa49be3f4cd34c3e15 | Power Transformer | LE | T1 | MANUFACTRUER-05 | 01.08.1987 | THREE | 7,50 | NO | 138,00
c4fb846afa75e494171bf98f7b9b454a | Power Transformer | SU | T6 | MANUFACTURER-02 | 12.03.2008 | THREE | 2,50 | NO | 34,50
286ab39d30f52c1075038490bc12ef1d | Power Transformer | TA | T4 | MANUFACTURER-02 | 01.01.1987 | THREE | 2,50 | NO | 34,50
68b6b5b6e41b6feaf2dcd1ebe946f4dd | Power Transformer | CE | T1 | MAN-1 | 28/09/2007 | THREE | 5,00 | NO | 69,00
77f97a2323507ef87ca34b75f597ec4f | Power Transformer | TA | T1 | MANUFACTURER-23 | 11.12.1978 | THREE | 12,50 | NO | 69,00
bc99058ed9d5f5a5288bf55acddac93f | Power Transformer | OE | T5 | MANUFAC01 | N/D | THREE | 1,00 | NO | 34,50
34612a9a154ac3527706cd518dfd04b2 | Regulator Power Autotransformer | NT | T1 | MANUFAC01 | 22.09.1999 | THREE | 15,00 | YES | 138,00
377119e455ee563128fa38f4a26e3095 | Power Transformer | TA | T2 | MANUFACTURER-22 | 01.01.1993 | THREE | 5,00 | NO | 69,00
835af8e9d40747b6e4a1031f533592b0 | Power Transformer | NT | T4 | MANUFACTURER-27 | 21.06.2001 | THREE | 2,50 | NO | 69,00
4282adb96c2d92c255a5ff0e586c0419 | Power Transformer | SU | T1 | MANUFACTURER-08 | 01.09.1981 | THREE | 5,00 | NO | 69,00
645dcebe8683d0391e0525c2a6eb16a8 | Power Transformer | TA | T1 | MANUFACTURER-08 | 24.11.1993 | THREE | 5,00 | NO | 69,00
3675efde6f33dd0035c5a3594fe5b476 | Power Transformer | TA | T2 | MAN-1 | 01.04.1970 | THREE | 9,37 | NO | 69,00
2625938e1632b37b063022b04a3afb06 | Power Transformer | TA | T1 | MANFCT-5 | 01.04.1970 | THREE | 9,37 | NO | 69,00
3e1432755d46daaac66a2da4bfd6f065 | Power Transformer | SU | T2 | MAN-1 | 28.06.1985 | THREE | 14,00 | NO | 138,00
23d61d2682be2596fd771833f1a89418 | Power Transformer | SU | T3 | MANFCT-5 | 22.06.1988 | THREE | 9,37 | NO | 138,00
de45acf69f216b3bea21494557851f92 | Power Transformer | MQ | IMMOB RESERVE | MAN-1 | 13.12.2003 | THREE | 9,00 | NO | 138,00
0431be43efeda59b8b2c0e0e3dd00049 | Power Transformer | SU | T1 | MANUFAC01 | 01.01.1998 | THREE | 15,00 | YES | 138,00
e5ae9b04898f370ced764d2a11f37a51 | Regulator Power Autotransformer | LE | T2 | MANUFAC01 | 01.11.1984 | THREE | 15,00 | YES | 138,00
cb8fd60f04c300fa065a68d17e7ac6ef | Power Transformer | TA | T4 | MANUFACTURER-08 | 01.12.1994 | THREE | 7,00 | NO | 34,50
2d0c6dbf3ddaad9ced59646341a16d5e | Power Transformer | TA | T3 | MANUFACTURER-08 | 01.12.1985 | THREE | 7,00 | NO | 34,50
51deb083035a7686fcba2c5e061d78dc | Power Transformer | TA | T4 | MANUFACTURER-08 | 18.06.2003 | THREE | 7,00 | NO | 34,50
d05b4f6705edb0c095a2ad7dfd8db7d0 | Power Transformer | NT | T3 | MANUFACTURER-08 | 01.10.1999 | THREE | 7,00 | NO | 34,50
6c5560cb3f5b3351b2a32ec29dd6b99e | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-08 | 07.06.2007 | THREE | 25,00 | YES | 138,00
346152b37781c5393a65715826662183 | Power Transformer | TA | T1 | MANUFAC01 | 01.08.1970 | THREE | 2,50 | NO | 69,00
ce45f48015bac4f0df343a14f22ae82a | Power Transformer | MQ | T7 BR | MANUFACTURER-02 | 02.07.1981 | THREE | 10,00 | NO | 138,00
4d8ac1a225fa22358290073f672a994e | Power Transformer | MQ | T7 AZ | MANUFACTURER-02 | 02.07.1981 | THREE | 10,00 | NO | 138,00
617e756b2ac6b477f5345ba9d8e560fe | Power Transformer | MQ | T7 VM | MANUFACTURER-02 | 02.07.1981 | THREE | 10,00 | NO | 138,00
3bd3f9ecaddd65c62ece52b5025201ec | Power Transformer | MQ | T7 RESERVE | MANUFACTURER-02 | 02.07.1981 | THREE | 10,00 | NO | 138,00
1d493211f772b5946f0efbdcbac5f9a9 | Power Transformer | CE | T2 | MAN-1 | 01.02.1978 | THREE | 5,00 | NO | 69,00
be8235526e448763559c9b5f8794a3ff | Power Transformer | OE | T1 | MAN-1 | 01.08.1999 | THREE | 5,00 | NO | 69,00
27c417939c66eed0f56fadd303df19a6 | Power Transformer | LE | T2 | MANUFAC01 | 13.11.1997 | THREE | 5,00 | NO | 69,00
a6a6546ecbebaa609adc22b2da453b01 | Power Transformer | TA | T1 | MANUFACTURER-08 | 20.06.1996 | THREE | 25,00 | YES | 138,00
1a51eb0ba269fbdcc75add5dece7597f | Transformer (Mobile SS remote control) | OE | T2 | MANUFACTURER-05 | NA | THREE | NA | NA | NA
55a587baa3dd2922ade72c4f84742b2c | Regulator Power Autotransformer | NT | T4 | MANUFAC01 | 11.04.1992 | THREE | 15,00 | YES | 138,00
8d17c6adfa5cdad258ffdf8dc3caf4dd | Power Transformer | OE | T2 | MANUFACTURER-08 | NA | THREE | 12,50 | NO | 138,00
393111fcc596073f5cde7baaadef206b | Regulator Power Autotransformer | NT | T1 | MANUFACTURER-08 | 01.08.1991 | THREE | 25,00 | YES | 138,00
630550c87bc59fa0c32a98074f9ff686 | Power Transformer | LE | T3 | MANUFAC01 | 01.02.1982 | THREE | 15,00 | NO | 161,00
253961cda7884ca760382d3864035d30 | Power Transformer | OE | T3 | MANUFACTURER-02 | 15-08-1997 | THREE | 13,30 | NO | 138,00
f0c572c13262e003bdcf972ce00a2fdb | Power Transformer | NT | T1 | MANUFACTURER-07 | 23.07.1985 | THREE | 1,00 | NO | 34,50
d73b99fb37ab14858f23185655989e9e | Power Transformer | MQ | T2 | MANUFAC01 | 22.05.1991 | THREE | 1,50 | NO | 22,00
59ab8c46ea9933ed08488a361c5308a0 | Power Transformer | MQ | T3 | MAN-1 | 14.03.2008 | THREE | 5,00 | NO | 69,00
6b6e80a968da19f61da0bb7d0abb68d1 | Power Transformer | OE | T4 | MAN-1 | NA | THREE | 1,00 | NO | 34,50
015542827dd6cf53a5163211cb1619cc | Power Transformer | OE | T3 | MAN-1 | NA | THREE | 1,00 | NO | 34,50
859d390b01b01f51b0895ac2e047f199 | Power Transformer | TA | T4 | MANUFAC01 | 03.02.1984 | THREE | 1,25 | NO | 69,00
118f0399614f181f85580836f3a701aa | Power Transformer | CE | T1 | MNAUFACTURER-4 | 01.02.1974 | THREE | 5,00 | NO | 69,00
b780d21ffceaa648e14e12f1e96e2a30 | Power Transformer | NT | T2 | MANUFACTURER-07 | 20.05.1985 | THREE | 1,00 | NO | 34,50
538bc84cace5f19119789f667ac5f5f1 | Power Transformer | MQ | T1 | MANUFACTURER-08 | 11.06.2002 | THREE | 12,50 | NO | 69,00
c5b4702acb45a5aac47536de7c19afcd | Power Transformer | LE | T2 | MANUFACTURER-02 | 01.11.1989 | THREE | 1,50 | NO | 34,50
76f9f6d521b39fdeca0b2b2281eaa466 | Power Transformer | MQ | T1 | MANUFACTURER-UNKNWN | 24.08.1982 | THREE | 1,00 | NO | 22,00
2f74675a810fad148ef4b85e4fdecc94 | Power Transformer | LE | T2 | MANUFACTURER-24 | 01.06.1985 | THREE | 12,50 | NO | 69,00
3403cc6323636bab7f3cca635db95462 | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-09 | 01.03.1983 | THREE | 25,00 | YES | 138,00
0a6b879dd50871db7e8800ca3ae6282d | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-09 | 01.03.1983 | THREE | 25,00 | YES | 138,00
ebe1967e11e22bba8caf9ce9858bc00f | Power Transformer | LE | T1 | MANUFACTURER-UNKNWN | 01.07.1993 | THREE | 5,00 | NO | 69,00
fe2dc3fffc610ccc5f9995d09b223ebf | Power Transformer | TA | T6 | MANUFACTURER-UNKNWN | 01.01.1981 | THREE | 5,00 | NO | 69,00
0b349064c57807ae6c8d7e17a6847519 | Regulator Power Autotransformer | OE | T4 | MANUFACTURER-09 | 02.03.2013 | THREE | 25,00 | YES | 138,00
2450408303b70fe5f3577ee87db053b3 | Power Transformer | TA | T1 | MANUFACTURER-09 | 01.11.1981 | THREE | 25,00 | YES | 138,00
b52437f9022c9f8dcd71d7913f5f3c4a | Regulator Power Autotransformer | CE | T3 | MANUFACTURER-09 | NA | THREE | 25,00 | YES | 138,00
c7a689655663d9574e58fe41be103a9b | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-09 | 26.05.1994 | THREE | 15,00 | YES | 138,00
afb7edad40a885dd3e188caa31d2f98a | Power Transformer | OE | T1 | MANUFACTURER-UNKNWN | NA | THREE | 5,00 | NO | 69,00
b520fda43d369a2429b838674501e191 | Power Transformer | TA | T2 | MANUFACTURER-UNKNWN | 07.10.2011 | THREE | 5,00 | NO | 69,00
4b6d19a105147f7eeeda2b659d32bf86 | Regulator Power Autotransformer | MQ | T1 | MANUFACTURER-23 | 18.12.1991 | THREE | 25,00 | YES | 138,00
c9a40c01f8f6445e6c2a9daf6db96868 | Power Transformer | OE | T1 | MANUFACTURER-UNKNWN | 26-03-1983 | THREE | 5,00 | NO | 69,00
287d90267ac8473f42fd86efc40e5ae8 | Power Transformer | SU | T1 | MANUFACTURER-UNKNWN | 03.07.1977 | THREE | 5,00 | NO | 69,00
24d4e69d27bd8a9ebefa34deb20b7fad | Regulator Power Autotransformer | NT | T1 | MANUFACTURER-09 | 01.07.1981 | THREE | 15,00 | YES | 138,00
c1280ca6f8159cddbe0c014993b3e352 | Power Transformer | LE | T2 | MANUFACTURER-24 | NA | THREE | 12,50 | NO | 69,00
449a0ed189046ef04cc9c1dc18176cbb | Power Transformer | LE | T3 | MANUFACTURER-24 | NA | THREE | 12,50 | NO | 69,00
f67873a2fd3cafe2b476b4fa57046bf9 | Power Transformer | LE | T1 | MANUFACTURER-12 | 31.03.1996 | THREE | 10,00 | NO | 69,00
37136568c22cad04e509d4a42e97da77 | Power Transformer | MQ | T1 | MANUFACTRUER-05 | 29.03.1999 | THREE | 2,00 | NO | 22,00
ba4d9e0d56d5af1583eb41443ee20e15 | Power Transformer | OE | T1 | MANUFACTURER-24 | 16/08/05 | THREE | 12,50 | NO | 69,00
eec82d39dd9aa8de696690135149be7b | Power Transformer | SU | T2 | MANUFACTURER-UNKNWN | 06/2000 | THREE | 5,00 | NO | 69,00
b95ec8a1e8f3a53155db1844a4125667 | Regulator Power Autotransformer | NT | T1 | MANUFACTURER-09 | 07.11.2002 | THREE | 15,00 | YES | 138,00
a137329518d518923a7940860b187b13 | Power Transformer | TA | T1 | MANUFACTURER-09 | 28.11.1984 | THREE | 15,00 | NO | 138,00
a0536e629d3aad20c94f0dd239af5635 | Power Transformer | TA | T5 | MANUFACTURER-09 | 08.03.1988 | THREE | 15,00 | YES | 138,00
64d3485728fc58597b092035f8deca2a | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-09 | NA | THREE | 15,00 | YES | 138,00
80909f0af8b671737dc249fdef4e0dfa | Power Transformer | MQ | T2 | MANUFACTRUER-05 | 29.03.1999 | THREE | 2,00 | NO | 22,00
1863f86de21238e37eae34f1aff431c1 | Regulator Power Autotransformer | CE | T3 | MANUFACTURER-09 | 01.08.1985 | THREE | 25,00 | YES | 138,00
aea62dbaa5e64e93dda6e0dd2f2f26c7 | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-09 | 01.08.1985 | THREE | 25,00 | YES | 138,00
674597fd494e1f7be7c5bbdf8fff365c | Power Transformer | TA | T1 | MANUFACTURER-09 | 01.01.1983 | THREE | 25,00 | YES | 138,00
317e4d51cd537670bc4c76208a5865c0 | Power Transformer | TA | T2 | MANUFACTURER-09 | 01.01.1983 | THREE | 25,00 | YES | 138,00
c078672d1a6007e951830646051a30d7 | Power Transformer | LE | T3 | MANUFACTURER-24 | 06/06/2002 | THREE | 12,50 | NO | 69,00
6d46436a44b74516c1eaf340126219a4 | Power Transformer | OE | T1 | MANUFACTURER-24 | NA | THREE | 12,50 | NO | 69,00
cadfa1efff75ac2c559b3567060bed7d | Regulator Power Autotransformer | MQ | T3 | MANUFACTURER-23 | 01.03.1984 | THREE | 30,00 | YES | 138,00
dd101e0a8cb950c0893a0adaddba8c1b | Regulator Power Autotransformer | NT | T1 | MANUFACTURER-01 | 14.09.2012 | THREE | 35,00 | YES | 138,00
263445e41200156dba549edf93940f83 | Power Transformer | TA | T1 | MANUFACTURER-23 | 08.08.2003 | THREE | 5,00 | NO | 34,50
aec6037b08690c8904fdc8d9be94af91 | Power Transformer | NT | T1 | MANUFACTURER-23 | 15.12.1984 | THREE | 5,00 | NO | 69,00
1f7015bf897e438e66202b4ef1a9bdc1 | Power Transformer | LE | T5 | MANUFACTURER-23 | 01.06.1985 | THREE | 6,25 | NO | 69,00
81c85466417474d9c67ac0e8a431a976 | Power Transformer | NT | T1 | MANUFACTURER-23 | 14.12.1984 | THREE | 5,00 | NO | 69,00
1da17cabeeb0cafab950e60a6da40392 | Regulator Power Autotransformer | CE | T3 | MANUFACTURER-23 | NA | THREE | 25,00 | YES | 138,00
53a43da15aa3a712ececddb3a3f5291b | Power Transformer | TA | T1 | MANUFACTURER-23 | 06.08.1981 | THREE | 25,00 | YES | 138,00
0fb68797b082f9d5c46be77f6912e6f6 | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-23 | 01.06.1985 | THREE | 25,00 | YES | 138,00
d177b3fe6d41cd2aca80165c4f1ca669 | Power Transformer | NT | T2 | MANUFACTURER-10 | 30.06.1998 | THREE | 2,00 | NO | 34,50
2038f16dfbd880645a209d4cac9e4425 | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-23 | 01.06.1985 | THREE | 25,00 | YES | 138,00
570dbfff8ef29f2bef374c96ca9f5764 | Power Transformer | NT | T4 | MANUFACTURER-23 | 01.10.1999 | THREE | 5,00 | NO | 34,50
46cc43f9d756396480e62274c36048de | Power Transformer | SU | T3 | MANUFACTURER-23 | 20.08.1985 | THREE | 25,00 | YES | 138,00
af38fb1cef34cffa00dc20eb569f8189 | Power Transformer | LE | T1 | MANUFACTURER-23 | 01.04.1986 | THREE | 5,00 | NO | 69,00
e9c313c40e35a8db609b4750803c1f3b | Power Transformer | NT | T2 | MANUFAC01 | 15.03.2003 | THREE | 2,50 | NO | 69,00
f433dea07ea139acf588b35eede9b01a | Power Transformer | LE | T2 | MANUFAC01 | 01.10.1987 | NA | 5,00 | NA | 13,80
1c61caebefeacf1ca683ab9af4e960d1 | Power Transformer | TA | T1 | MANUFACTURER-UNKNWN | 23.10.2002 | THREE | 15,00 | YES | 138,00
455f37f93c718ccd9cb18fd437e457c2 | Regulator Power Autotransformer | NT | T2 | MANUFACTURER-UNKNWN | 21.09.1987 | THREE | 15,00 | YES | 138,00
5bb8d00285f8e4ec417fb62d538944a6 | Power Transformer | SU | T1 | MANUFACTURER-UNKNWN | 21.09.1990 | THREE | 15,00 | YES | 138,00
12d51b5832579223d825e5b1e3322149 | Power Transformer | TA | T4 | MANUFACTURER-UNKNWN | 17.11.2009 | THREE | 5,00 | NO | 69,00
40ce9f11e6ae225be40ff42e277c1b5a | Power Transformer | LE | T4 | MANUFACTURER-23 | NA | THREE | 12,50 | NO | 69,00
62cb7b8a04e4317b4dfa474e3f9e32c9 | Power Transformer | OE | T1 | MANUFACTURER-23 | 27-11-1997 | THREE | 12,50 | NO | 69,00
bc11a8a5d2c3c201947c94288fd2ed1f | Power Transformer | OE | T2 | MANUFACTURER-23 | 22-05-1988 | THREE | 12,50 | NO | 69,00
2a13d886eddbc56daf5d13a8f46b3ad8 | Power Transformer | TA | T1 | MANUFACTURER-UNKNWN | 01.01.1992 | THREE | 15,00 | YES | 138,00
d13167c8f2dc247d8d17ac483bcdf9be | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-23 | NA | THREE | 25,00 | YES | 138,00
8ec5b10456b84ad0966e398a710e65a2 | Power Transformer | SU | T2 | MANUFACTURER-23 | 07.08.1987 | THREE | 25,00 | YES | 138,00
5270f45834048b951728341dfbc5b2f2 | Power Transformer | SU | T1 | MANUFACTURER-23 | 27.08.1986 | THREE | 25,00 | YES | 138,00
66620ae7fb9600f95262c1421547b513 | Power Transformer | OE | T1 | MANUFACTURER-23 | NA | THREE | 12,50 | NO | 69,00
e37d7e696a2243db103378b7496b2a59 | Regulator Power Autotransformer | LE | T3 | MANUFACTURER-23 | 01.11.1986 | THREE | 25,00 | YES | 138,00
41f98f8dc38e9b9cc3badbe34f8408c9 | Power Transformer | TA | T2 | MANUFACTURER-23 | 01.11.1987 | THREE | 25,00 | YES | 138,00
539e5aab86f64685118d8ab14b33d369 | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-23 | 01.05.1987 | THREE | 25,00 | YES | 138,00
e18401ce5ae304060d61f45899177594 | Power Transformer | SU | T2 | MANUFACTURER-23 | 20.07.1986 | THREE | 25,00 | YES | 138,00
d08607d5215ef8421660389142eb8926 | Power Transformer | SU | T7 | MANUFACTURER-23 | 10.12.1989 | THREE | 25,00 | YES | 138,00
ab00561b4478fc863f9c1ec4c2772bbe | Power Transformer | OE | T5 | MANUFACTURER-23 | 01.10.1987 | THREE | 25,00 | YES | 138,00
a38e1a9f821557856e0c3eca3a55fcac | Power Transformer | SU | T2 | MANUFACTURER-23 | 13.04.1998 | THREE | 25,00 | YES | 138,00
4c5abe628ee6dbd3907f1fa00918d584 | Power Transformer | SU | T1 | MANUFACTURER-UNKNWN | 24.09.1988 | THREE | 5,00 | NO | 69,00
4588d262f42dc4aa09753cda9d7b4973 | Regulator Power Autotransformer | NT | T1 | MANUFACTURER-23 | 26.06.1988 | THREE | 25,00 | YES | 138,00
173a9d88333d91d4b2f0898881c84014 | Regulator Power Autotransformer | CE | T4 | MANUFACTURER-23 | 01.06.1987 | THREE | 25,00 | YES | 138,00
9e2d9209258ee10756bd91daccd7fed6 | Power Transformer | LE | T1 | MANUFACTURER-23 | 27.03.1989 | THREE | 12,50 | NO | 69,00
73f670cd3659d5d8c28b5f1eb349ce7d | Power Transformer | LE | T1 | MANUFACTURER-23 | NA | NA | NA | NA | NA
08254ac111fb691e168b351b32f3f35e | Power Transformer | SU | T1 | MANUFACTURER-UNKNWN | 40988 | THREE | 15,00 | YES | 138,00
eddea49393dff48d38b2d54b21f7dd15 | Power Transformer | SU | T2 | MANUFACTURER-UNKNWN | 12.04.1989 | THREE | 15,00 | YES | 138,00
9ebaf45ea4fb05e34640588dec52dd46 | Power Transformer | TA | T1 | MANUFACTURER-UNKNWN | 01.03.1988 | THREE | 15,00 | YES | 138,00
0c74226bdaf49504f9c17db776b16222 | Transformer (Mobile SS remote control) | MQ | MOBILE SS | MAN-1 | 29.03.1999 | THREE | 10,00 | NO | 138,00
25c56c01abf2ec1cbd61ac2cb612420b | Power Transformer | LE | T1 | MANUFACTURER-UNKNWN | 01.04.1988 | THREE | 5,00 | NO | 69,00
06c7899fc18936508f24b33f6c5321d7 | Power Transformer | LE | T1 | MANUFACTURER-UNKNWN | 01.03.1993 | THREE | 5,00 | NO | 69,00
2f78b84f4c674147f5781bccb651cec7 | Power Transformer | SU | T1 | MANUFACTURER-UNKNWN | 19.03.1988 | THREE | 5,00 | NO | 69,00
3231aaabba8d61fdc943aef503b7ad34 | Power Transformer | OE | T2 | MANUFACTURER-UNKNWN | 27/11/2009 | THREE | 5,00 | NO | 69,00
f7262b6cd50391ab04b113937d816cd0 | Power Transformer | TA | T2 | MANUFACTURER-UNKNWN | 03.08.2009 | THREE | 5,00 | NO | 34,50
b7ef3543e8b566d2e5fa99a594d87a60 | Power Transformer | NT | T1 | MAN-1 | 06.05.1987 | THREE | 10,00 | NO | 138,00
3797c688c7170d5969253fae605cfc7b | Power Transformer | SU | T1 | MANUFACTURER-UNKNWN | NA | THREE | 5,00 | NO | 69,00
f0aa97b08f1584222789c1677f8a4340 | Power Transformer | TA | T2 | MANUFACTURER-UNKNWN | 01.11.1987 | THREE | 5,00 | NO | 34,50
41f27aef7b40eddc501148cd47a7c53e | Power Transformer | LE | T1 | MANUFACTURER-UNKNWN | 13.08.2004 | THREE | 5,00 | NO | 69,00
ad0d3682e384026e094d1e0bc296e9de | Power Transformer | TA | T1 | MANUFACTURER-UNKNWN | 09.02.2012 | THREE | 5,00 | NO | 69,00
dbf6ef983422400214d5d54644f01dd4 | Power Transformer | NT | T1 | MANUFACTURER-UNKNWN | 01.10.1990 | THREE | 5,00 | NO | 34,50
fc694f064f8c0b162ea3693938f5ddd1 | Power Transformer | TA | T2 | MANUFACTURER-UNKNWN | 01.01.1987 | THREE | 5,00 | NO | 34,50
1ed328d8ef4d5818354b5615e479fd69 | Power Transformer | MQ | T1 | MANUFACTURER-UNKNWN | 29.03.1999 | THREE | 5,00 | NO | 34,50
f15fc067a318e22d7602610ab0e9790f | Power Transformer | LE | T1 | MANUFACTURER-UNKNWN | NA | THREE | 5,00 | NO | 69,00
05b82006d2a05f6bc0eeb32ea67b5f47 | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-22 | NA | THREE | 25,00 | YES | 145,00
2cd6ebd4dd88dbfa6061d5f3d54abcd5 | Regulator Power Autotransformer | CE | T4 | MANUFACTURER-23 | NA | THREE | 25,00 | YES | 138,00
def872aa0813364b5c4a91bf355825d2 | Power Transformer | NT | T1 | MANUFACTURER-23 | 10.04.1988 | THREE | 12,50 | NO | 69,00
3f665d457e546a2ee8bdafb65c5a53a4 | Power Transformer | OE | T2 | MANUFACTURER-23 | 01.06.1995 | THREE | 12,50 | NO | 69,00
74f43da1511b298b9b5071e22d0a6029 | Power Transformer | SU | T1 | MANUFACTURER-UNKNWN | 22.03.1988 | THREE | 15,00 | YES | 138,00
c301a88ed60e06a2fa167246c94a10da | Transformer (Mobile SS remote control) | CE | T1 | MANUFACTURER-25 | 21.06.2000 | THREE | 10,00 | NO | 138,00
ded52edf7e27428bfb2901befbc05900 | Power Transformer | LE | T2 | MANUFACTURER-UNKNWN | 01.03.1993 | THREE | 5,00 | NO | 69,00
73f0d9b33309c5cfcefe18b0b5df0b7b | Power Transformer | SU | T1 | MANUFACTURER-UNKNWN | 23.04.1989 | THREE | 5,00 | NO | 69,00
26fe2d9d0547fc4561de2e73fa8bb7a2 | Power Transformer | SU | T1 | MANUFACTURER-UNKNWN | 13.06.1999 | THREE | 5,00 | NO | 69,00
68249548170bf30e79278df1f6790780 | Power Transformer | LE | T1 | MANUFACTURER-UNKNWN | 01.04.1999 | THREE | 5,00 | NO | 69,00
d1fa5d471412b7b217c6467362d71514 | Power Transformer | NT | T2 | MANUFACTURER-UNKNWN | 10.12.1988 | THREE | 5,00 | NO | 69,00
e30e260cf3db4e5bfacce31ab6c95438 | Power Transformer | LE | T1 | MANUFACTURER-UNKNWN | 17.12.1988 | THREE | 5,00 | NO | 69,00
17006d546ce86f2c92df51834a6f9491 | Regulator Power Autotransformer | LE | T1 | MANUFACTURER-UNKNWN | 01.07.1989 | THREE | 5,00 | NO | 69,00
1e32e14c21623666b84f42120e44f954 | Power Transformer | LE | T2 | MANUFACTURER-UNKNWN | 17.12.1988 | THREE | 5,00 | NO | 69,00
338673abe7707471b5799646c29b1a28 | Power Transformer | LE | T1 | MANUFACTURER-23 | 01.12.1988 | THREE | 5,00 | NO | 69,00
f4fc4d401410345b5edc51e833c0bd0d | Power Transformer | SU | T5 | MANUFACTURER-23 | 12.12.1989 | THREE | 25,00 | YES | 138,00
0dc21409aca7f44ebcf8f48e4408a2ef | Power Transformer | SU | T2 | MANUFACTURER-23 | 03.09.1989 | THREE | 25,00 | YES | 138,00
1dc6a11d192e88df6063349ad8bb5fc5 | Power Transformer | OE | T2 | MANUFACTURER-23 | 01.09.1988 | THREE | 25,00 | YES | 138,00
79a35a66fea53ff59b0a99ab302ee79f | Regulator Power Autotransformer | LE | T1 | MANUFACTURER-23 | 01.12.1994 | THREE | 25,00 | YES | 138,00
4493cf3c4d659e01b4248b71d4477b6f | Regulator Power Autotransformer | LE | T2 | MANUFACTURER-23 | 01.12.1994 | THREE | 25,00 | YES | 138,00
496c9af9ea7fbf8f532d3e900d196384 | Power Transformer | TA | T2 | MANUFACTURER-23 | 26.11.1992 | THREE | 25,00 | NO | 138,00
c448c91a04a9f27fdc58b915ccb4a08f | Power Transformer | NT | T1 | MANUFACTURER-UNKNWN | 04.10.1988 | THREE | 5,00 | NO | 69,00
2a7d1524d9d746cf68598e4d5f519ea9 | Power Transformer | SU | T2 | MANUFACTURER-UNKNWN | 29.05.1995 | THREE | 5,00 | NO | 69,00
a6781ccb1a422ec6dd614ec44c8c1a91 | Power Transformer | MQ | T1 | MANUFACTURER-UNKNWN | 20.04.1988 | THREE | 5,00 | NO | 69,00
cf3f6b14700197eac2b57aec84f3edb9 | Power Transformer | NT | T1 | MANUFACTURER-UNKNWN | 07.11.1989 | THREE | 5,00 | NO | 69,00
d0ddc636fa4c82be0c0f323db02ef76a | Power Transformer | OE | T2 | MANUFACTURER-UNKNWN | NA | THREE | 5,00 | NO | 69,00
5a2a2ff162912a79cbfd7a563f39bc3d | Power Transformer | OE | T1 | MANUFACTURER-UNKNWN | NA | THREE | 5,00 | NO | 69,00
90d3e98451cae272b24a5cc4696cc2dd | Power Transformer | TA | T2 | MANUFACTURER-UNKNWN | 26.03.1991 | THREE | 5,00 | NO | 69,00
16774d03978133bf221d31f8cc49f204 | Power Transformer | OE | T1 | MANUFACTURER-UNKNWN | 01.03.1993 | THREE | 5,00 | NO | 69,00
c7168513c4cf89ae680744658ef84b2c | Power Transformer | LE | T1 | MANUFACTURER-UNKNWN | 01.11.1995 | THREE | 5,00 | NO | 69,00
7b56caebbc2c39a6e239c5852b7965ad | Power Transformer | SU | T1 | MANUFACTURER-UNKNWN | 11.12.1991 | THREE | 5,00 | NO | 69,00
8a21a77cf5cc285cf7da7e2d4749eded | Power Transformer | MQ | T3 | MANUFACTURER-UNKNWN | 13.08.1991 | THREE | 5,00 | NO | 69,00
348c144ebd7507536168961210d8b117 | Power Transformer | NT | T3 | MANUFACTURER-UNKNWN | 19.08.1990 | THREE | 5,00 | NO | 34,50
fdee883d0f08969f73ccf6a6a8f0729f | Power Transformer | NT | T4 | MANUFACTURER-UNKNWN | 19.08.1990 | THREE | 5,00 | NO | 34,50
6f18d9bc9422784764882a7411500f69 | Power Transformer | OE | T3 | MANUFACTURER-UNKNWN | 01.02.1995 | THREE | 5,00 | NO | 69,00
ffa4b3ab356781b9c6f97b90950b3559 | Power Transformer | TA | T1 | MANUFACTURER-UNKNWN | 23.11.1989 | THREE | 5,00 | NO | 69,00
c1d76b38950ce0cd21c731d0a40a3b5e | Power Transformer | OE | T2 | MANUFACTURER-UNKNWN | 01.09.1990 | THREE | 5,00 | NO | 69,00
adff1961cd7ff25c1c20d84dd47d2fcd | Power Transformer | OE | T1 | MANUFACTURER-UNKNWN | 01.09.1990 | THREE | 5,00 | NO | 69,00
0ba24b02680a698e4e48b4c99e5e4ec0 | Power Transformer | TA | T7 | MANUFACTURER-UNKNWN | 01.01.1991 | THREE | 5,00 | NO | 69,00
3dd246900b46cd0f20d1db29947a5f8d | Power Transformer | OE | T2 | MANUFACTURER-UNKNWN | NA | THREE | 5,00 | NO | 69,00
311cc36d118fda59a4547f89d9115940 | Power Transformer | TA | T1 | MANUFACTURER-UNKNWN | 07.10.2011 | THREE | 5,00 | NO | 69,00
602454e0bb9d614f448c6f6e1f470d92 | Power Transformer | MQ | T2 | MANUFACTURER-UNKNWN | 20.04.1988 | THREE | 5,00 | NO | 69,00
2446ec9736dbbde13513029373791ac1 | Power Transformer | TA | T2 | MANUFACTURER-UNKNWN | 01.09.1997 | THREE | 5,00 | NO | 69,00
3dd0da9fd4766b01f74cc5ff3ba1ac5c | Power Transformer | NT | T3 | MANUFACTURER-UNKNWN | 24.11.1993 | THREE | 5,00 | NO | 69,00
a775d3e2caa87a860445a0ed45ba9e58 | Power Transformer | TA | T2 | MANUFACTURER-UNKNWN | 28.02.2010 | THREE | 5,00 | NO | 69,00
261e93a1def8511a9408c87e92a200fa | Power Transformer | NT | T2 | MANUFACTURER-UNKNWN | 03.09.1993 | THREE | 5,00 | NO | 69,00
a11ff1ee64c530e96a225caad8b98090 | Power Transformer | OE | T4 | MANUFACTURER-UNKNWN | 01.02.1995 | THREE | 5,00 | NO | 69,00
524124a437e9e6b0d8c599e10c379a05 | Power Transformer | SU | T2 | MANUFACTURER-UNKNWN | 22.05.1990 | THREE | 5,00 | NO | 69,00
f9bfec90a6315a956106db17ae855164 | Power Transformer | TA | T2 | MANUFACTURER-UNKNWN | 01.04.1991 | THREE | 5,00 | NO | 69,00
8c4e4627fb5ff8f707ce051775109fde | Power Transformer | LE | T1 | MANUFACTURER-UNKNWN | 01.06.1993 | THREE | 5,00 | NO | 69,00
feb33fc70c0b331304a1deb79fb80d7e | Power Transformer | NT | T1 | MANUFACTURER-24 | NA | THREE | 10,00 | NO | 138,00
f319ff424fa6d92e11627f7ed69bf86a | Regulator Power Autotransformer | CE | T4 | MANUFACTURER-23 | NA | THREE | 25,00 | YES | 138,00
37559e7a1c9fb02fd114bdbf753c22da | Regulator Power Autotransformer | MQ | T2 | MANUFACTURER-23 | 29.03.1999 | THREE | 25,00 | YES | 138,00
e833855283e009d5bd952c6472d6c9fd | Power Transformer | TA | T1 | MANUFACTURER-23 | 21.11.2008 | THREE | 25,00 | YES | 138,00
2eef360c65c29003dd5fc03fa1094734 | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-23 | 30.06.1987 | THREE | 25,00 | YES | 138,00
e18fc295da052ebb09176cd873c54ae4 | Regulator Power Autotransformer | LE | T2 | MANUFACTURER-23 | 01.11.1991 | THREE | 25,00 | YES | 138,00
9aa0f6cbc29ffb37d6c2c63e5d4c3ebe | Power Transformer | MQ | T3 | MANUFACTURER-23 | 01.09.1989 | THREE | 25,00 | YES | 138,00
12bc6ac032619351e8ef5ba76d460c31 | Regulator Power Autotransformer | NT | T3 | MANUFACTURER-23 | 08.08.2001 | THREE | 25,00 | YES | 138,00
975334435c2a61cb98a177c298aa67e8 | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-23 | NA | THREE | 25,00 | YES | 138,00
ccd60f57003260f0700c371e4a518153 | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-23 | 10.11.2003 | THREE | 25,00 | YES | 138,00
38620308170e3bdd646671a551acd5b9 | Regulator Power Autotransformer | LE | T2 | MANUFACTURER-23 | 01.09.1989 | THREE | 25,00 | YES | 138,00
243c96f63e04401ef8833c04544bc881 | Regulator Power Autotransformer | CE | T4 | MANUFACTURER-23 | NA | THREE | 25,00 | YES | 138,00
5da03f311091481b40d2aa0533d52161 | Regulator Power Autotransformer | CE | T3 | MANUFACTURER-23 | NA | THREE | 25,00 | YES | 138,00
511e42ce1a9b27aa71b5f343c9b5231b | Regulator Power Autotransformer | NT | T1 | MANUFACTURER-23 | 15.07.1990 | THREE | 15,00 | YES | 138,00
271ea09e4fbbb07996fbfbc850b4ea21 | Regulator Power Autotransformer | NT | T1 | MANUFACTURER-23 | 01.10.1996 | THREE | 15,00 | YES | 138,00
6a210b4100b8b64b9ed2b572bbc33ce5 | Power Transformer | TA | T2 | MANUFACTURER-23 | 12.06.1989 | THREE | 15,00 | YES | 138,00
6ca1337dae11b04506c5af970ce13174 | Regulator Power Autotransformer | NT | T2 | MANUFACTURER-23 | 19.08.1990 | THREE | 15,00 | YES | 138,00
56894aa2071c0a91e23feee7cece97c9 | Power Transformer | TA | T3 | MANUFACTURER-23 | 01.07.1991 | THREE | 5,00 | NO | 34,50
4af4362a97db1677c7f62c6e5091f7a2 | Power Transformer | SU | T1 | MANUFACTURER-23 | 27.08.1991 | THREE | 5,00 | NO | 69,00
4b07438863d466552996b3b364a7eab6 | Power Transformer | SU | T2 | MANUFACTURER-23 | 27.08.1991 | THREE | 5,00 | NO | 69,00
de0ea2a62b0e8470dfcdcaf0c44f1794 | Regulator Power Autotransformer | NT | T1 | MANUFACTURER-23 | 01.08.1990 | THREE | 15,00 | YES | 138,00
a8ebc58ef0ad33660b8cd4db735360cb | Power Transformer | SU | T1 | MANUFACTURER-23 | 23.11.1995 | THREE | 15,00 | YES | 138,00
a2c486a4ff15a1556752cc6a17c69445 | Regulator Power Autotransformer | NT | T1 | MANUFACTURER-23 | NA | THREE | 15,00 | YES | 138,00
b04c4393025c91990f41181ac8dae165 | Power Transformer | OE | T5 | MANUFACTURER-23 | 01.09.1990 | THREE | 15,00 | YES | 138,00
802a5e24b741654b7773b893dd96f505 | Power Transformer | LE | T1 | MANUFACTURER-23 | NA | THREE | 12,50 | NO | 69,00
42792c11ff66e609f07f15efda5fb371 | Power Transformer | LE | T1 | MANUFACTURER-23 | 28.10.1990 | THREE | 12,50 | NO | 69,00
21aa68cbc6b3f9a5140fc66c81bdfde3 | Power Transformer | TA | T3 | MANUFACTURER-23 | 01.01.1991 | THREE | 25,00 | NO | 138,00
9889f2a2d26bbf3d251c560e73a4d0ad | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-23 | 01.09.1989 | THREE | 25,00 | YES | 138,00
205031072ba9a8f6bd64e0898a5a3bec | Power Transformer | SU | T3 | MANUFACTURER-23 | 18.03.1991 | THREE | 25,00 | YES | 138,00
692db9fd7e2a27bbb41c03d94f58649f | Regulator Power Autotransformer | CE | T3 | MANUFACTURER-23 | NA | THREE | 25,00 | YES | 138,00
222aa86a4510908b97c88f63b25cb5af | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-23 | 01.06.1989 | THREE | 15,00 | YES | 138,00
2053be8a22e12e7fc0eba601196b3fe7 | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-23 | 01.05.1989 | THREE | 15,00 | YES | 138,00
cf093c217a47995112e395bde645a88d | Power Transformer | SU | T1 | MANUFACTURE-19 | 06.06.1990 | THREE | 5,00 | NO | 69,00
e7d7178d60f9d2afeb1b5c6d3930f92c | Power Transformer | LE | T1 | MANUFACTURE-19 | 01.06.1991 | THREE | 5,00 | NO | 69,00
83f7a18f22d4f03ed2aa003e227ed865 | Power Transformer | LE | T2 | MANUFACTURE-19 | 01.06.1991 | THREE | 5,00 | NO | 69,00
cfa425d2c53abafe73ec441daaa6b738 | Power Transformer | MQ | T1 | MANUFACTURE-19 | 13.08.1991 | THREE | 5,00 | NO | 69,00
e04a9bdf3bbcbfaa5a416cab29c50dec | Power Transformer | LE | T2 | MANUFACTURE-19 | 11.11.1997 | THREE | 5,00 | NO | 69,00
7f1fef4f3a48ce83701c48020cf36681 | Regulator Power Autotransformer | LE | T2 | MANUFACTURE-19 | 20.03.1991 | THREE | 15,00 | YES | 138,00
8f6d3f54d09240316b6f8e2a60aaab98 | Power Transformer | SU | T2 | MANUFACTURE-19 | 22.05.1990 | THREE | 15,00 | YES | 138,00
1427a0769054371f33c463b561337360 | Regulator Power Autotransformer | MQ | T2 | MANUFACTURE-19 | 03.08.1991 | THREE | 15,00 | YES | 138,00
42086087b503e8ae9f61105ae20ebfce | Power Transformer | TA | T2 | MANUFACTURE-19 | 01.11.1989 | THREE | 15,00 | YES | 138,00
30bc9bf2f5b0b235c134235f9898882c | Regulator Power Autotransformer | CE | T1 | MANUFACTURE-19 | NA | THREE | 15,00 | YES | 138,00
307c5f4139e82de0eabdf099ac36d620 | Power Transformer | TA | T2 | MANUFACTURE-19 | 01.07.1991 | THREE | 15,00 | YES | 138,00
fe153cdc755093e6320b73aeed6e833c | Regulator Power Autotransformer | CE | T2 | MANUFACTURE-19 | 01.12.1991 | THREE | 15,00 | YES | 138,00
b18b768e34a866e8bf858391fd0ca367 | Regulator Power Autotransformer | MQ | T2 | MANUFACTURE-19 | 03.05.1991 | THREE | 15,00 | YES | 138,00
a97b09daf398829f4e3e756224163109 | Power Transformer | OE | T1 | MANUFACTURE-19 | 01.11.1990 | THREE | 12,50 | NO | 69,00
419701e56569a7171752e6968a7a00b7 | Power Transformer | MQ | T1 | MANUFACTURE-19 | 16.09.1990 | THREE | 12,50 | NO | 69,00
a49b8ff0491eb0779054709e90c0c591 | Power Transformer | TA | T1 | MANUFACTURE-19 | 12.08.1992 | THREE | 12,50 | NO | 69,00
21cd1887fd6da7de749d1d5f584869b8 | Regulator Power Autotransformer | MQ | T4 | MANUFACTURER-23 | 07.03.1989 | THREE | 33,20 | YES | 138,00
9925b62d1cab3a022a34deff20bca394 | Regulator Power Autotransformer | MQ | T2 | MANUFACTURER-UNKNWN | 18.09.1990 | THREE | 15,00 | YES | 138,00
ff15f03c77e2fd3ac30e15245da3ecce | Power Transformer | CE | T1 | MANUFACTURER-UNKNWN | 01.08.1989 | THREE | 5,00 | NO | 69,00
8f964e076d907e3c48745287127800ed | Regulator Power Autotransformer | CE | T3 | MANUFACTURER-23 | 01.11.1992 | THREE | 25,00 | YES | 138,00
6a25352603f5245c878a0a1a8963f6b3 | Regulator Power Autotransformer | CE | T4 | MANUFACTURER-23 | NA | THREE | 25,00 | YES | 138,00
42d211d2c0d4569c70dd49ef74d3eef6 | Power Transformer | SU | T6 | MANUFACTURER-23 | 12.08.1992 | THREE | 25,00 | YES | 138,00
4b42d8f15492d0fed974f2c0e93320c9 | Regulator Power Autotransformer | NT | T1 | MANUFACTURER-23 | 17.03.1994 | THREE | 15,00 | YES | 138,00
18e3220b30117646de4226bdb7df6934 | Regulator Power Autotransformer | NT | T2 | MANUFACTURER-23 | 17.03.1994 | THREE | 15,00 | YES | 138,00
13a041fe3c497da5bd0ba95f1c9708c3 | Regulator Power Autotransformer | NT | T2 | MANUFACTURER-23 | 17.03.1994 | THREE | 15,00 | YES | 138,00
6ba573ff32be913573ccb98ba0907756 | Regulator Power Autotransformer | NT | T2 | MANUFACTURER-01 | 12.1994 | THREE | 25,00 | YES | 138,00
44bc9be3c9341961ed53efb26b81b4ba | Regulator Power Autotransformer | NT | T1 | MANUFACTURER-01 | 12.03.1995 | THREE | 25,00 | YES | 138,00
057f6b7574d4d5af027e966243f9b563 | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-01 | NA | THREE | 25,00 | YES | 138,00
e1870a846576dc824f6d1dd065a407ea | Power Transformer | SU | T2 | MANUFACTURER-01 | 04.04.1993 | THREE | 25,00 | YES | 138,00
236065aac063c960d04e8d50dd522df2 | Power Transformer | SU | T4 | MANUFACTURER-01 | 20.05.1993 | THREE | 25,00 | YES | 138,00
0c8663040495c42a93fc9975a276f286 | Power Transformer | TA | T4 | MANUFAC01 | 03.11.1993 | THREE | 25,00 | YES | 138,00
eea64d7b7b06fae9410e1cb78e9eefc7 | Power Transformer | TA | T2 | MANUFACTURER-01 | 01.03.1995 | THREE | 25,00 | YES | 138,00
c2aa8d6d5b565eb5fa04f4d1bf89d4a2 | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-23 | 30.11.1993 | THREE | 25,00 | YES | 138,00
dd59f88db3d9a2ab3c11934691e23643 | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-23 | 30.11.1993 | THREE | 25,00 | YES | 138,00
969f6cd7c655f1112e18f9f92a7c1a2e | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-23 | 28/02/2007 | THREE | 25,00 | YES | 138,00
98d18c3e28600433a0f86e9dab04ac29 | Power Transformer | OE | T1 | MANUFACTURER-23 | 29-05-1995 | THREE | 25,00 | YES | 138,00
ecb53d1c8ae4c0492e0f59520334cfdc | Regulator Power Autotransformer | NT | T3 | MANUFACTURER-23 | 28.06.1995 | THREE | 15,00 | YES | 138,00
aa8d4a01532d2531c9cbc4fa41002c76 | Regulator Power Autotransformer | NT | T2 | MANUFACTURER-23 | 30.08.1999 | THREE | 25,00 | YES | 138,00
5c5b9ff8a367b5b58fdef4c8b1458c3c | Regulator Power Autotransformer | NT | T4 | MANUFACTURER-23 | 10.11.1994 | THREE | 15,00 | YES | 138,00
eca3c9c9d22a8a463fe90fe823ef2433 | Regulator Power Autotransformer | NT | T2 | MANUFACTURER-23 | 23.11.1995 | THREE | 15,00 | YES | 138,00
57729b3dfdddcda0fbd8115219a9b501 | Power Transformer | SU | T1 | MANUFACTURER-23 | 11.05.2000 | THREE | 15,00 | YES | 138,00
8beee3429f6d5d6160d07d4abe7fd49a | Regulator Power Autotransformer | NT | T1 | MANUFACTURER-23 | 05.07.2001 | THREE | 15,00 | YES | 138,00
9644f05a80b642a7d4190b66646bd5bc | Regulator Power Autotransformer | MQ | T5 | MANUFACTURER-23 | 10.05.2013 | THREE | 15,00 | YES | 138,00
b961b9e5868768c78a024f08205e29f7 | Regulator Power Autotransformer | NT | T1 | MANUFACTURER-23 | 28.05.2003 | THREE | 15,00 | YES | 138,00
4b2bdd4e22adaa4e4ad6e2bbd53185eb | Power Transformer | OE | T2 | MANUFACTURER-23 | 25-02-1996 | THREE | 25,00 | YES | 138,00
9d72864ea3e7c3dd4f2f8ed07df239fd | Power Transformer | SU | T1 | MANUFACTURER-23 | 18.12.1994 | THREE | 15,00 | YES | 138,00
4ee9dd86eb3cae6c29342e468194162a | Power Transformer | SU | T2 | MANUFACTURER-23 | 21.09.1995 | THREE | 15,00 | YES | 138,00
cbf9de82ed87b27ec368e5d8216c0158 | Power Transformer | SU | T2 | MANUFACTURER-23 | 18.12.1994 | THREE | 15,00 | YES | 138,00
b7dc36c064bc1828506d37b5fcea693a | Power Transformer | SU | T1 | MANUFACTURER-01 | 22.08.1995 | THREE | 25,00 | YES | 138,00
aa006811a65af8cf5b34630e87a3b534 | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-01 | NA | THREE | 25,00 | YES | 138,00
ff38a137c4ddc89e7ed8d2bb5dc3769b | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-01 | NA | THREE | 25,00 | YES | 138,00
a4aad76ff57426fd476b78b995416b1f | Regulator Power Autotransformer | CE | T4 | MANUFACTURER-01 | 01.11.1995 | THREE | 25,00 | YES | 138,00
71568071f42bde373dcfe5e761f390e9 | Regulator Power Autotransformer | CE | T3 | MANUFACTURER-01 | 01.11.1995 | THREE | 25,00 | YES | 138,00
8765b288ee552b54c7de78e5a4139f5f | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-01 | 01.12.1996 | THREE | 25,00 | YES | 138,00
8fbd40712377fd173600bb0ffb9e959d | Regulator Power Autotransformer | CE | T4 | MANUFACTURER-01 | 01.12.1996 | THREE | 25,00 | YES | 138,00
0a30d58b1bd2b18b30ec294db4d2c52b | Power Transformer | SU | T3 | MANUFACTURER-01 | 22.06.1995 | THREE | 25,00 | YES | 138,00
627c167297781ccce7ad062db18878e6 | Power Transformer | MQ | T2 | MANUFACTURER-01 | 19.11.1995 | THREE | 25,00 | YES | 138,00
bc6f99e61c402c783720b479bc340747 | Power Transformer | TA | T1 | MANUFACTURER-01 | 12.11.1998 | THREE | 25,00 | YES | 138,00
ee1d54cfb8bd2681a8ac30f25deee9d5 | Power Transformer | SU | T3 | MANUFACTURER-01 | 04.07.1995 | THREE | 25,00 | YES | 138,00
0115fdf279c8026f21a8e4e53a6b2635 | Regulator Power Autotransformer | MQ | T2 | MNAUFACTURER-4 | 12.01.1996 | THREE | 33,20 | YES | 138,00
35cae543132ce349db8c3f9422a34664 | Regulator Power Autotransformer | MQ | T3 | MNAUFACTURER-4 | 12.01.1996 | THREE | 33,20 | YES | 138,00
50f715d49b74be1a3d09dac39fa732ad | Regulator Power Autotransformer | NT | T4 | MANUFACTURER-01 | 6.1995 | THREE | 15,00 | YES | 138,00
37882690b87952a12399458cdff9540d | Regulator Power Autotransformer | CE | T3 | MANUFACTURER-01 | 01.04.1996 | THREE | 25,00 | YES | 138,00
3bb76e31172fbdb28c2f044fe53cb180 | Power Transformer | OE | T1 | MANUFACTURER-01 | 12-01-1996 | THREE | 25,00 | YES | 138,00
7c436a950a6260e4de826baf4737c333 | Regulator Power Autotransformer | CE | T5 | MANUFACTURER-01 | NA | THREE | 25,00 | YES | 138,00
ad304ccbb150f4bdb2adbdfa2a3b4ee8 | Power Transformer | SU | T1 | MANUFACTURER-01 | 04.01.1996 | THREE | 25,00 | YES | 138,00
db69402b3e11e39f4b7cea36cf11975b | Regulator Power Autotransformer | CE | T3 | MANUFACTURER-01 | 01.01.1999 | THREE | 25,00 | YES | 138,00
16370f6bf0a738568edaeca5cc0c083e | Power Transformer | SU | T2 | MANUFACTURER-01 | 07.12.1995 | THREE | 12,50 | NO | 69,00
51671f53e914d7ebde028d0f8e4c9e48 | Power Transformer | OE | T1 | MANUFACTURER-01 | 01/01/2006 | THREE | 25,00 | YES | 138,00
031023abc02ab8a117cdc73628d0063f | Regulator Power Autotransformer | OE | T3 | MANUFACTURER-01 | 19/09/2009 | THREE | 15,00 | YES | 138,00
a574b6f2b0f58ad134006417315d5aed | Regulator Power Autotransformer | LE | T2 | MANUFACTURER-01 | 01.06.1996 | THREE | 15,00 | YES | 138,00
887ab5d312fe28596ada70c6a9026872 | Power Transformer | OE | T1 | MANUFACTURER-01 | NA | THREE | 15,00 | YES | 138,00
22fe2e70a3d15dd66a99e11bfcca0c5d | Regulator Power Autotransformer | LE | T2 | MANUFACTURER-01 | 01.06.1996 | THREE | 15,00 | YES | 138,00
e3afe9befc3d16f835c536b556cd7ef2 | Power Transformer | TA | T1 | MANUFACTURER-01 | NA | NA | NA | NA | NA
aff07864227583e792379c9e17f45be1 | Power Transformer | OE | T2 | MANUFACTURER-01 | NA | THREE | 25,00 | YES | 138,00
390e225d3ca19a5c996ae615c9780043 | Regulator Power Autotransformer | LE | T4 | MAN-1 | 01.06.1996 | THREE | 25,00 | YES | 138,00
73ecea9a9907f27da75ed4eca251a077 | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-01 | 31.08.1994 | THREE | 25,00 | YES | 138,00
731b6c6c354ad3d9aa24e214423935de | Regulator Power Autotransformer | LE | T1 | MANUFACTURER-01 | 01.06.1996 | THREE | 15,00 | YES | 138,00
8c178ac9af3e85e0ef1c5e5f5323e8b5 | Power Transformer | CE | T1 | MANUFACTURER-01 | NA | THREE | 12,50 | NO | 69,00
ae61493e88d396e96d76d32c7c44437d | Power Transformer | TA | T1 | MANUFACTURER-01 | 01.05.1996 | THREE | 25,00 | YES | 138,00
95b29ded8cc3425d361abf090da902ae | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-01 | NA | THREE | 25,00 | YES | 138,00
145bcdee848db7c33641fe2c6d97ac79 | Power Transformer | MQ | T4 | MANUFACTURER-24 | 02.02.2001 | THREE | 7,60 | NO | 138,00
3b9a4d76300d78274e91145f55aa2ad8 | Power Transformer | OE | T6 | MANUFACTURER-01 | NA | THREE | 25,00 | YES | 138,00
fc1a7d972ab044dc88a38ad6365bc8ef | Power Transformer | OE | T1 | MANUFACTURER-22 | 19-04-1998 | THREE | 25,00 | YES | 138,00
fa04e8fd553bdfac97bea7add3958040 | Power Transformer | OE | T1 | MANUFACTURER-22 | 24-05-1998 | THREE | 25,00 | YES | 138,00
0768d09b89d32c8a1d3baf6568fa16c9 | Power Transformer | OE | T1 | MANUFACTURER-22 | 19-04-1998 | THREE | 25,00 | YES | 138,00
80b022fbd8fb305b5a5e6c65c5cf9077 | Power Transformer | OE | T13 | MANUFACTURER-22 | 12/05/1998 | THREE | 12,50 | NO | 69,00
165fa3a781216340d6237644c19d99cd | Power Transformer | OE | T14 | MANUFACTURER-22 | 13/05/1998 | THREE | 12,50 | NO | 69,00
d0b87b3511ca2266cfca909fdd710607 | Regulator Power Autotransformer | CE | T5 | MANUFACTURER-01 | NA | THREE | 25,00 | YES | 138,00
84cfc914fcbd6c294cd9a74d90e0ad7d | Regulator Power Autotransformer | LE | T2 | MANUFACTURER-22 | NA | THREE | 25,00 | YES | 138,00
14cebfe97f9428373d34a5e38826b5c6 | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-22 | NA | THREE | 25,00 | YES | 138,00
45b862fdad2483b151da10553bf15b14 | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-22 | NA | THREE | 25,00 | YES | 138,00
9cad95e3a1fdb596c9729f97e3fb6702 | Power Transformer | OE | T3 | MANUFACTURER-22 | 24.08.1999 | THREE | 25,00 | YES | 138,00
f99cd9d4deca25647b5f035cebecfef0 | Regulator Power Autotransformer | NT | T1 | MANUFACTURER-01 | 22.09.1999 | THREE | 15,00 | YES | 138,00
1cf76d37d07e3b9ef75492ae2a204f48 | Power Transformer | SU | T1 | MANUFACTURER-23 | 11.04.1999 | THREE | 25,00 | YES | 138,00
3a7008cf9247ca6e8667428525c86518 | Power Transformer | TA | T1 | MANUFACTURER-09 | 01.07.1991 | THREE | 15,00 | YES | 138,00
b470c0c7aab332b8cd0c6f5cda71d966 | Power Transformer | TA | T1 | MANUFACTURER-23 | 01.01.1985 | THREE | 5,00 | NO | 34,50
c33396f3cd10edc7278775c7ac67823b | Power Transformer | SU | T8 | MANUFACTURER-UNKNWN | 01.10.1991 | THREE | 5,00 | NO | 69,00
8f98a0379758cd260b9967df2d91a532 | Power Transformer | SU | T7 | MAN-1 | 12.11.1979 | THREE | 2,50 | NO | 69,00
f06d22c8f82e97456dc417ab575f5ca3 | Power Transformer | NT | T1 | MANUFACTURER-23 | 15.01.2000 | THREE | 5,00 | NO | 34,50
8bb1a8fda2c0396d7bbbd3687adf1288 | Power Transformer | OE | T2 | MANUFACTURER-01 | 09.01.2008 | THREE | 25,00 | YES | 138,00
353e0169d750fed056dd7e6f3a4fb876 | Power Transformer | SU | T1 | MANUFACTURER-23 | 30/05/2007 | THREE | 15,00 | YES | 145,00
919d391485c07418d414ab732d9c2ea6 | Power Transformer | OE | T1 | MANUFACTURER-23 | 26/09/2008 | THREE | 15,00 | YES | 138,00
b553c60aeaa3228155002b89eb86c9e1 | Power Transformer | TA | T1 | MANUFACTURER-22 | 30.07.2000 | THREE | 25,00 | YES | 138,00
e85cba843e942b4c5f3a1ba5b8a04902 | Power Transformer | TA | T2 | MANUFACTURER-23 | 30.06.2002 | THREE | 25,00 | YES | 138,00
617c457084e08c72ba4089c765b45d2f | Power Transformer | TA | T3 | MANUFACTURER-23 | 30.06.2002 | THREE | 25,00 | YES | 138,00
44a42087e73cfed9886bbdd2fd47ad05 | Regulator Power Autotransformer | NT | T2 | MANUFACTURER-22 | 12.12.2010 | THREE | 25,00 | YES | 138,00
faddbb000dda29e7c90ad2fabc54be8d | Power Transformer | TA | T1 | MANUFACTURER-23 | 28.08.2008 | THREE | 15,00 | YES | 145,00
6c9e935c3d4d8b4740728d4500affe92 | Power Transformer | OE | T2 | MANUFACTURER-23 | 09/11/2008 | THREE | 2,50 | NO | 34,50
954d3105e25fc0dc39fef3da93eb920c | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-23 | 03.11.2008 | THREE | 25,00 | YES | 138,00
b899a9e55bc6e65a8c8174f3d17666c9 | Power Transformer | TA | T1 | MANUFACTURER-23 | 01.04.2002 | THREE | 5,00 | NO | 69,00
9ebc2201f3c1654700c6c12ffbd8e65c | Power Transformer | TA | T2 | MANUFACTURER-23 | 01.04.2002 | THREE | 5,00 | NO | 69,00
008852f51589a06679d79a2d95c33e3d | Power Transformer | TA | T3 | MANUFACTURER-23 | 01.04.2002 | THREE | 25,00 | YES | 138,00
1efc5dcbeb9019911d354d748f1e45ba | Power Transformer | TA | T2 | MANUFACTURER-22 | 29.08.1999 | THREE | 25,00 | YES | 138,00
2f1bc67afcdd428826432b2f12f4c77f | Power Transformer | TA | T3 | MANUFACTURER-23 | 10.03.2000 | THREE | 25,00 | YES | 138,00
7240741e61e5923cf41fa628ab20428d | Power Transformer | TA | T1 | MANUFACTURER-UNKNWN | 01.11.1987 | THREE | 5,00 | NO | 34,50
d77b9864c00c2bbe2ac56154c95eb1ca | Power Transformer | TA | T4 | MANUFACTURER-UNKNWN | 02.10.1998 | THREE | 25,00 | YES | 138,00
5b5ddad00bed9e8c203a5f38499ff2e5 | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-23 | 23.10.2000 | THREE | 25,00 | YES | 138,00
5fc3f2c432789bdbb3762d2f476553a9 | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-23 | 23.10.2000 | THREE | 25,00 | YES | 138,00
03e9dab16f46249ab336bff37d1b347b | Power Transformer | SU | T6 | MANUFACTURER-03 | 02.02.2007 | THREE | 7,00 | NO | 69,00
5ddbd36765a4b98b896e7796ea4e3a5f | Regulator Power Autotransformer | CE | T4 | MANUFACTURER-23 | 21.12.2004 | THREE | 25,00 | YES | 138,00
9ba705635a1581e07a8f50b1419bad62 | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-23 | NA | THREE | 25,00 | YES | 138,00
7774e3f02591467a34ad403719cffe0f | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-23 | 31.10.2003 | THREE | 25,00 | YES | 138,00
03dafc2425edf87d281d42da8558a22c | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-23 | NA | THREE | 25,00 | YES | 138,00
b651527eab72d8927ee5fcddc2b0f0d3 | Regulator Power Autotransformer | CE | T3 | MANUFACTURER-23 | NA | THREE | 25,00 | YES | 138,00
d773226f309677629e71d21629b06d82 | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-23 | 31.08.2001 | THREE | 25,00 | YES | 138,00
dbceee9f6ddfba6b68fbf47ccd86d5bf | Regulator Power Autotransformer | CE | T3 | MANUFACTURER-23 | NA | THREE | 25,00 | YES | 138,00
d7ed0ee1cacdee6beefb8468febaa5a5 | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-23 | 31.08.2001 | THREE | 25,00 | YES | 138,00
2a3f712c34e47d04917aa71c9213df3d | Power Transformer | OE | T2 | MANUFACTURER-23 | 01.08.2010 | THREE | 12,50 | NO | 69,00
4a1a09e69423fa37915c78b42382e854 | Regulator Power Autotransformer | CE | T6 | MANUFACTURER-23 | NA | THREE | 25,00 | YES | 138,00
eefee5a26752ca044d115c940d2755e4 | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-01 | NA | THREE | 25,00 | YES | 138,00
b1be1e418048166bdf23100718609e3c | Power Transformer | OE | T1 | MANUFACTURER-23 | 05/12/2008 | THREE | 2,50 | NO | 34,50
0a49d3ae516f713107783158b62ef6e7 | Power Transformer | LE | T2 | MANUFACTURER-23 | 20.11.2009 | THREE | 5,00 | NA | 69,00
9634f5687833e0f7b9ddc30351001145 | Power Transformer | LE | T3 | MANUFACTURER-23 | 20.08.2010 | THREE | 5,00 | NA | 69,00
0a63290d434fbf37c93122465ab127b2 | Regulator Power Autotransformer | TA | T1 | MANUFACTURER-23 | 15.06.2006 | THREE | 25,00 | YES | 138,00
44c63e7f23e11a8bf88ec2c9860e64fd | Power Transformer | LE | T11 | MANUFACTURER-27 | NA | THREE | 5,00 | NO | 69,00
c4ce67d4549607340ca579ddd9815d4c | Power Transformer | LE | T13 | MANUFACTURER-23 | NA | THREE | 12,50 | NO | 69,00
463d2c4deea1ed47463b3816c7e7105a | Regulator Power Autotransformer | LE | T5 | MANUFACTURER-22 | NA | THREE | 15,00 | YES | 161,00
401b078f80feb7dcb0ebd580f16e0e04 | Power Transformer | LE | T6 | MANUFACTURER-23 | NA | THREE | 12,50 | NO | 69,00
2f0b95a5676d0b945531bd83e4c0c850 | Power Transformer | LE | T3 | MANUFACTURER-05 | 17.12.1970 | THREE | 15,00 | NO | 69,00
baccdcff73e47bedc352ba1f9346cc12 | Power Transformer | LE | T4 | MANUFACTURER-27 | 27.05.1946 | THREE | 6,25 | NO | 69,00
6d88a755c4e6fd109f3a661b6e36cf6c | Power Transformer | LE | T3 | MANUFACTURER-05 | 08.10.1975 | THREE | 4,20 | NO | 69,00
43268f382ee8b4b1fdfb963248ce677e | Power Transformer | LE | T1 | MANUFACTURER-23 | 01.05.2003 | THREE | 12,50 | NA | 69,00
9b490bea869246ee73a1680d6f946e89 | Power Transformer | LE | T1 | MANUFACTURER-23 | NA | THREE | 5,00 | NA | 69,00
512955784810053e6d9f9180b952b879 | Regulator Power Autotransformer | MQ | T3 | MANUFACTURER-22 | 03.11.2007 | THREE | 33,30 | YES | 138,00
74e625d2c17f0141d90dec53ade98ec8 | Regulator Power Autotransformer | CE | T3 | MANUFACTURER-23 | 21.12.2004 | THREE | 25,00 | YES | 138,00
8e320dc07b24e6894f442807e4883877 | Power Transformer | LE | T2 | MANUFACTURER-23 | 10.08.2010 | NA | 5,00 | NO | 69,00
3a271ca29fd0dd41a7b86f362a3c718e | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-23 | 23.12.2008 | THREE | 25,00 | YES | 138,00
ff72f0339c1e1fac92efbb744adeeab1 | Regulator Power Autotransformer | TA | T1 | MANUFACTURER-23 | 06.08.2010 | THREE | 12,50 | NO | 69,00
a3c4f2513648c02faefcf8bfa3e76685 | Regulator Power Autotransformer | TA | T2 | MANUFACTURER-23 | 12.09.2007 | THREE | 15,00 | YES | 138,00
f5dea465b84cb7d62917ee518af8a8e4 | Regulator Power Autotransformer | SU | T1 | MANUFACTURER-22 | NA | THREE | 15,00 | YES | 145,00
77c09e11843e225d91e58fa6a4278cdf | Regulator Power Autotransformer | NT | T1 | MANUFACTURER-23 | 03.07.05 | THREE | 15,00 | YES | 138,00
4b9d144ff45a00963162a19ba7c1f8cf | Power Transformer | MQ | T2 | MANUFACTURER-23 | 12.08.2005 | THREE | 15,00 | YES | 138,00
8b683963eb375fd4df8f3f5e89892381 | Power Transformer | TA | T1 | MANUFACTURER-23 | 30.08.2011 | THREE | 15,00 | YES | 138,00
46706861ce439367477081299fb4a974 | Power Transformer | TA | T1 | MANUFACTURER-23 | 01.04.2012 | THREE | 15,00 | YES | 138,00
d9ee3735568ec417657a4a5427cd5d9c | Power Transformer | TA | T1 | MANUFACTURER-23 | 08.12.2011 | THREE | 12,50 | NO | 69,00
ad8668b85a711663c79d2c20eb1c8450 | Power Transformer | NT | T1 | MANUFACTURER-23 | 13.06.2010 | THREE | 5,00 | NO | 69,00
cedf8121df6a0496809bbed4271e7ce6 | Power Transformer | NT | T2 | MANUFACTURER-23 | 13.06.2010 | THREE | 5,00 | NO | 69,00
da5ec89bd70fe44188c91622d4baae1c | Power Transformer | NT | T1 | MANUFACTURER-23 | 19.08.2010 | THREE | 5,00 | NO | 69,00
b2c6a1df9a167fc2729dc08cf5d1a1e1 | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-23 | 18.12.2009 | THREE | 25,00 | YES | 138,00
dadb2db1294d3cb8a6237e49916edc2e | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-23 | 18.12.2009 | THREE | 25,00 | YES | 138,00
3a08c4fa91912745a360fa1195c65d93 | Regulator Power Autotransformer | CE | T3 | MANUFACTURER-23 | 18.12.2009 | THREE | 25,00 | YES | 138,00
bdbbec537841f38d7a0702d7ed025e6e | Regulator Power Autotransformer | NT | T1 | MANUFACTURER-23 | 22.02.06 | THREE | 15,00 | YES | 138,00
2ba4f0a4c056d5c14122596604d3d133 | Regulator Power Autotransformer | NT | T2 | MANUFACTURER-23 | 30.08.06 | THREE | 15,00 | YES | 138,00
c87a67d7252b254f0d080e07356127c6 | Regulator Power Autotransformer | NT | DEDICATED RESERVE | MANUFACTURER-22 | 15.12.06 | THREE | 25,00 | YES | 138,00
0e28257d406b4243fc8b3e8052909675 | Regulator Power Autotransformer | NT | T1 | MANUFACTURER-22 | 15.12.06 | THREE | 25,00 | YES | 138,00
7606e409936f389df66d240c7f993cea | Regulator Power Autotransformer | NT | T4 | MANUFACTURER-22 | 15.12.2006 | THREE | 25,00 | YES | 138,00
2ccb69f531b966d8d8c2e430a4882ef8 | Power Transformer | NT | T3 | MANUFACTURER-01 | 09.01.07 | THREE | 2,50 | NO | 34,50
99e10ce2bb22a25201c2214347bcfdfb | Power Transformer | SU | T4 | MANUFACTURER-23 | NA | NA | NA | NA | NA
a7c179bd5ce8993d4c41ad3f70eafed9 | Power Transformer | CE | T1 | MANUFACTURER-23 | NA | NA | NA | NA | NA
13e0594120a07089edaef890bdaab6e9 | Power Transformer | SU | T1 | MANUFACTURER-23 | 20.08.2009 | THREE | 25,00 | YES | NA
f3865426bbdd45338ed34cf29dec7d7d | Power Transformer | TA | T1 | MANUFACTURER-23 | NA | NA | NA | NA | NA
a9f6a11089f7a07dbece9f9eb77ec8da | Regulator Power Autotransformer | TA | T2 | MANUFACTURER-23 | 28.04.2010 | THREE | 15,00 | YES | 138,00
dba42723849384ec3f37ab5fa2a1b3fd | Power Transformer | OE | T2 | MANUFACTURER-23 | 22/03/2010 | THREE | 25,00 | YES | 145,00
5a396a4bcfba584656bca1090e078350 | Power Transformer | CE | T2 | MANUFACTURER-23 | 29.05.2010 | THREE | 12,50 | NO | NA
7aa78b83071db727b7514c98ac0f9ad0 | Power Transformer | OE | T1 | MANUFACTURER-23 | 28.11.2010 | THREE | 12,50 | NO | 69,00
80fc269c84509ca9f01570a17ad8a05e | Power Transformer | TA | T3 | MANUFACTURER-23 | 01.08.2012 | THREE | 25,00 | YES | 145,00
3a3ee74dfe0d30763da3ebcfe8617478 | Power Transformer | NT | T1 | MANUFACTURER-23 | 20.11.2009 | THREE | 12,50 | NO | 69,00
779250a77cd4b0ff76672974c21fd402 | Power Transformer | TA | T2 | MANUFACTURER-23 | NA | NA | NA | NA | NA
6dfb04b11e180dfe991ce4b70bf23b2f | Power Transformer | OE | T6 | MANUFACTURER-23 | 15.12.2010 | THREE | 15,00 | YES | 138,00
903f0d04d1199c0a0aebaf27bece596d | Power Transformer | CE | T2 | MANUFACTURER-23 | 11.11.2011 | THREE | 5,00 | NO | 72,50
f4e14fadb5d44ff3c7994366a0b99d40 | Power Transformer | CE | IMMOB RESERVE | MANUFACTURER-23 | NA | NA | NA | NA | NA
8be30c90e0f5a93b5c0c93f748f60360 | Power Transformer | SU | T1 | MANUFACTURER-08 | 01.06.2012 | THREE | 12,50 | NO | 138,00
ab0da73e4d98c7d632694ec00b7c7f11 | Power Transformer | LE | T1 | MANUFACTURER-22 | 14/08/2012 | THREE | NA | YES | 13,80
727b1b09beeff18d7bef6eebb01e4e7e | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-22 | 0X.0X.2012 | THREE | 15,00 | YES | 145,00
38c57fe7a56b0b056bae57d3c44de6fc | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-22 | 0X.0X.2012 | THREE | 15,00 | YES | 145,00
5b064b515462ec8b02d6a115a46a2176 | Power Transformer | SU | T1 | MANUFACTURER-22 | 12.04.2013 | THREE | 15,00 | YES | 138,00
aad0a54b13b34f278f3ba468179c4fa1 | Regulator Power Autotransformer | OE | T11 | MANUFACTURER-26 | 05.04.2013 | THREE | 25,00 | YES | 145,00
d0be663b2d798c40523b54283f02b3e3 | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-26 | 05.12.2012 | THREE | 25,00 | YES | 145,00
6adffd79cb7e354ab71a03c7faee7625 | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-26 | 05.12.2012 | THREE | 25,00 | YES | 145,00
64f5922afce6c3b09c13e807ea8d628d | Power Transformer | MQ | T3 | MANUFACTURER-23 | NA | NA | NA | NA | NA
2448df79be60fd35bde8d81b4cee0700 | Regulator Power Autotransformer | OE | T2 | MANUFACTURER-23 | 27.06.2011 | THREE | 25,00 | YES | 145,00
e1ebbe289287fc65a9081721f76a9647 | Regulator Power Autotransformer | NT | T2 | MANUFACTURER-23 | 01.12.2010 | THREE | 15,00 | YES | 138,00
8042a6541cde43039f8b4462cc7c64de | Power Transformer | SU | T3 | MANUFACTURER-23 | 28.03.2012 | THREE | 15,00 | YES | 138,00
7a2dc9cd4058c0ecf2369ca0fb6b98b1 | Regulator Power Autotransformer | MQ | T1 | MANUFACTURER-23 | 14.02.2012 | THREE | 15,00 | YES | 138,00
7d82bc007a287523cdcd8bd667bdcacb | Regulator Power Autotransformer | MQ | T1 | MANUFACTURER-23 | 17.01.2011 | THREE | 25,00 | YES | 138,00
6fc027f390d207e613b5ade241c7f87c | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-23 | 15.03.2011 | THREE | 25,00 | YES | 138,00
4d1947eaee5f7521db491c4605a29c56 | Regulator Power Autotransformer | MQ | T2 | MANUFACTURER-22 | 03.03.2011 | THREE | 25,00 | YES | 138,00
c2b38f14d00123cc82dcf17298857292 | Power Transformer | CE | T2 | MANUFACTURER-23 | NA | NA | NA | NA | NA
ea0a2346e27428accc8b467fd9f880f6 | Power Transformer | MQ | STRATEGIC RESERVE | MANUFACTURER-22 | NA | THREE | 5,00 | NO | 24,00
777f3ab57d457b964db8a60b6c771cbd | Regulator Power Autotransformer | LE | T1 | MANUFACTURER-22 | 23/02/2013 | THREE | 12,50 | YES | 138,00
45b6251927e5cd52fafc2c767b979a45 | Regulator Power Autotransformer | CE | T1 | MANUFACTURER-23 | 02.02.2011 | THREE | 25,00 | YES | 138,00
5cc6cb3d9da34a7ecc875e8005df6c40 | Regulator Power Autotransformer | CE | T2 | MANUFACTURER-23 | 02.02.2011 | THREE | 25,00 | YES | 145,00
157cce2e5b155c0bd83e5f79c06f8448 | Power Transformer | SU | T2 | MANUFACTURER-23 | 14.01.2011 | THREE | 25,00 | YES | 145,00
71ca86ba75298ba0ec8221f74320a64a | Power Transformer | LE | T3 | MANUFACTURE-19 | 15/03/2013 | NA | NA | NA | NA
e191fd3c53d596c24bdd40428b65758a | Power Transformer | LE | T1 | MANUFACTURER-22 | 05/04/2013 | NA | NA | NA | NA
d84664b8ab0830f345678b203cbbeb74 | Power Transformer | TA | T5 | MANUFACTURER-22 | 01.02.2012 | THREE | 15,00 | YES | 138,00
e5829ad9a4a72485345bffd6bd7015c2 | Power Transformer | NT | T5 | MANUFAC01 | NA | THREE | 2,00 | NO | 69,00